Introduction
Variability of Aerosol Properties as Determined by Long-term Surface Observations
David Delene
For More Information See:
Delene, D. J., and J. A. Ogren, Variability of aerosol optical properties at four North American surface monitoring sites, Journal of Atmospheric Sciences, 59, 1135-1150, 2002.
(Abstract, Manuscript, PDF) [338 Citation – Google Scholar Page]
Image of dust above Hawaii from Mauna Loa.
Image of haze in Mali, West Africa.
CIRES

---
Definitions
Definitions
Aerosols
Suspended solid or liquid matter, with a small settling velocity
Atmospheric Aerosols
Suspended material in the Earth's atmosphere that have residence times of days, to a few weeks. Atmospheric Aerosols are sometimes referred to as “particles”
American Meteorological Society (AMS) Glossary
A colloidal system (heterogeneous, particle remain dispersed, not molecularly mixed) in which the dispersed phase is composed of either solid or liquid particles, and in which the dispersion medium is some gas, usually air (Reference).
What is the difference between a particle and an aerosol?

---
Importance
Types of Radiative Forcing
Direct Forcing
Indirect Forcing
Carbon Dioxide Forcing
Total Forcing
Climate forcing predicted by Lawrence Livermore National Laboratory Global Aerosol Model [Catherine C. Chuang & Joyce E. Penner].
[Speaker Notes: Model very old, from around 1994.]

---
Partially Absorbing Aerosols
Schematic of the role of partially absorbing particles have on the surface radiation and cloud formation. Aerosols absorb and scatter radiation (1) and diminish the net radiation at the surface (2). The results is a reduction in surface latent and sensible heat flows from the surface (3), which reduces the strength of convection and cloud formation.
Incoming
Solar Radiation
Smoke Particles
Absorb and Scatter
Solar Radiation
Cloudiness
Decreases
Incoming
Solar Radiation
Diminished by
Smoke Particles
Heat Flow from the Land Surface are Reduced
Image from NOAA Earth System Research Laboratory site, http://www.esrl.noaa.gov/research/themes/aerosols/
[Speaker Notes: Model very old, from around 1994.]

---
Size
Atmospheric Aerosol Size Range
Image showing the spectrum from long-wave radio, to microwaves, Infrared, visible, ultraviolet, x-rays, and gamma rays.
 10-9m to 10-5 m
.001 µm to 10 µm
1 nm to 10,000 nm‏
Wavelength of Visible Light?
Size of a human hair?
Image showing fibers for a aerosol filter.

---
Aerosol Size Distribution
Dp (µm)‏
60x10
3
40
20
0
dN/dlogD
p
 (cm
-3
)
2
3
4
5
6
7
8
9
0.1
2
3
4

D
p
 (
m)
dN/dlogDp (cm-3)
Polydisperse
Aerosol In
Monodisperse
Aerosol Out

---
Diagram
Light Scattering and Absorption by Aerosols
Volume of Air
In Coming Light
Out Going Light

---
Nephelometer
Integrating Nephelometer
TSI 3563 Nephelometer schematic
courtesy of TSI Incorporated
Beer-Lambert Law
      I / Io = e (- Ã x)‏
Io = intensity of light source
I = intensity of light after passing through atmospheric path
x = thickness of medium through which light passes
Ã = total extinction coefficient (scattering + absorption)‏
τ = Ã x = Optical Thickness
What is optical depth?

---
Photometer
Particle Soot Absorption Photometer
Beers Law
A=ln(IO / I)‏
A is the absorbance
I is the intensity of light transmitted
Io is the light intensity before passing through the filter.
Green LED
Opal Glass
O-Rings
Particle Deposit
Filter Holder
Quartz Filter
Attenuated Signal
Reference Signal
Detectors

---
Distribution
Aerosol Chemistry
Primary
Dust
Sea salt
Soot
Primary Organics
Secondary
SO2 - Sulfate
NOx - Nitrate
VOC - Secondary Organics
Mass Fraction of Submicron Particles from NOAA Shipboard Measurements
Mass Fraction of Submicron Particles
nssK - non-sea salt potassium
Image from NOAA Earth System Research Laboratory site,
http://www.esrl.noaa.gov/research/themes/aerosols/

---
Smoke Aerosol Absorption
Wavelength (nm)
Estimated contributions of black and organic carbon to the spectral attenuation of a residential wood smoke particulate matter sample. The exponents of the power law trend lines, 0.86 and 4.89, are the absorption Ångström exponents of the black and organic carbon, respectively, for this sample. Image from Kirchstetter and Thatcher, 2012.
Attenuation

---
Properties
Aerosol Properties Can Have:
R2
Regional Variability
Vertical Variability
Temporal Variability
Systematic Relationships
R1
Surface
Time
X
Y

---
Aerosol Properties Can Be
Intrinsic
Intrinsic properties are inherent qualities of a thing.
Any property of any object or matter, such that occurs independently of other conditions
Extrinsic
Extrinsic properties depend on the thing's relationship with other things.
How much.

---
Network
NOAA Aerosol Network
Barrow
Sable Island
Hungary
Cheeka Peak
Bondville
Mauna Loa
So. Great Plains
Kaashidhoo
Samoa
South Pole

---
Scattering
Seasonal and Regional Variability:
Aerosol Scattering Coefficient
 = 550 nm, D < 10 m, RH < 40%

---
Absorption
Seasonal and Regional Variability:
Aerosol Absorption Coefficient
 = 550 nm, D < 10 m, RH < 40%

---
Vertical
Values are adjusted to STP, λ = 550 nm, D < 1 µm, RH < 40%
Airplane
Surface
σap [Mm-1]
σsp [Mm-1]
Altitude [km]
Altitude [km]

---
Annual Cycle of Single-scattering Albedo
Annual Cycle of
Single-scattering Albedo
1.0
0.9
0.8
0.7
0.6
  JAN MAR MAY JUL SEP NOV ANN
Month of Year
Bondville, Illinois (BND), 1996 – 2000 Hourly Averages
=550 nm, D<10 m, RH<40%

---
Annual Cycle of Backscatter Fraction
Annual Cycle of Backscatter Fraction
0.20
0.18
0.18
0.16
0.14
0.12
0.10
0.08
  JAN MAR MAY JUL SEP NOV ANN
Month of Year
Bondville, Illinois (BND), 1996 – 2000 Hourly Averages
=550 nm, D<10 m, RH<40%

---
Annual Cycle of Hygroscopic Growth
Annual Cycle of Hygroscopic Growth (f(RH)
3.5
3.0
2.5
2.0
1.5
1.0
  JAN MAR MAY JUL SEP NOV ANN
Month of Year
DOE/ARM Southern Great Plains (SGP),
1999 Hourly Averages f(RH)=sp(85%)/ sp(40%)

---
Direct Radiative Forcing Efficiency
Direct Radiative Forcing Efficiency
Ac	Cloud Fraction
Rs	Surface Albedo
F	Aerosol Forcing
	Aerosol Optical
Depth
D	Daylight Fraction
S0	Solar Constant
Tat	Atmospheric
Transmission
Haywood and Shine (1995)
size 12{ { tilde {ω}} rSub { size 8{0} } } {} size 12{ { bar {β}}} {}
Aerosol Single-
Scattering Albedo
Average Aerosol
Up-scatter Fraction

---
Daily Cycle of Forcing Efficiency
Daily Cycle of Forcing Efficiency
-10
-15
-20
-25
-30
-35
 1 3 5 7 9 11 13 15 17 19 21 23 A
Hour of Day [UTC]
Bondville, Illinois (BND), 1996 – 2000 Hourly Averages
=550 nm, D<10 m, RH<40%

---
Annual Cycle of Forcing Efficiency
Annual Cycle of Forcing Efficiency
  -5
-10
-15
-20
-25
-30
-35
 JAN MAR MAY JUL SEP NOV ANN
Month of Year
Bondville, Illinois (BND), 1996 – 2000 Hourly Averages
=550 nm, D<10 m, RH<40%

---
Radiative Forcing Efficiency  Frequency Distributions
Radiative Forcing Efficiency Frequency
Forcing Efficiency
Dp < 10 m, RH < 40% for one Arctic (BRW), one marine (WSA), and two continental (SGP, BND) sites.
Frequency

---
Systematic Relationships: Example 1
=550 nm, D<10 m, RH < 40%

---
Systematic Relationships
Systematic Relationships: Example 2
=550 nm, D<10 m, RH < 40%

---
Conclusions
Conclusions
  - Average aerosol absorption is 10 times larger and average aerosol scattering is 5 times larger in Bondville, Illinois than in Barrow, Alaska.
  - Variation in single-scattering albedo and hemispheric backscatter fraction combine to give 10% variations in monthly median forcing efficiency and a 4% variation among station median values.
  - Regional and seasonal variations in aerosol properties and systematic relationships among aerosol properties can be important for applications that use “climatological” averages.