## Slide 1: Training in the use of Airborne Instrumentation, Data Collection, Archival and Processing PREPARED FOR PROGRAMME SAAGA ARMÉE DE L’AIR BURKINA FASO
2-DC Probe Data Analysis
February-March 2012
Fargo, North Dakota - USA
David Delene, Ph.D.
Professor and Good Guy

## Slide 2
Crystal Shapes
http://www.its.caltech.edu/~atomic/snowcrystals/class/class.htm
Spheres
Needles
Dendrites
Irregulars
Rimed

## Slide 3
2-DC Probe: Spheres

## Slide 4
2-DC Probe: Needles

## Slide 5
2-DC Probe: Dendrites

## Slide 6
2-DC Probe: Irregulars

## Slide 7
Percentage of particle losses based on the measured FSSP activity.
Images from 2-DC Probe

## Slide 8
Sampling of cloud cell between cloud base and cloud top during time interval 49,100 to 50,800 sfm on 2 April 2008. Left panel shows all observations, while the right panel only includes FSSP concentrations at STP that are greater than 100 #/cm3. The blue line gives the approximate rate of increase of effective droplet radius with height.
Droplet Effective Radius

## Slide 9
9 April 2009 Flight
Peak: 46827 – 46828 sfm
Low: 48292 – 48299 sfm
2DC Equivalent LWC [g/m3]
Time [UTC]
Liquid water content equivalent (1 Hz data) at 18,000 ft measured by 2-DC probe on a research flight in Saudi Arabia.

## Slide 10
9 April 2009 Flight
Images from the 2-DC between 13:00:26.45 and 13:00:28.19 (less than 2 seconds total) which correspond to the maximum liquid water content equivalent (1 Hz data) measured by 2-DC probe between on 9 April 2009 research flight in Saudi Arabia.

## Slide 11
9 April 2009 Flight
Images from the 2-DC between 13:24:52.46 and 13:24.59 (9 seconds total) which correspond to the low liquid water content equivalent (1 Hz data) measured by 2-DC probe on 9 April 2009 research flight in Saudi Arabia.

## Slide 12
Conclusions
  Liquid Droplets are round, ice is not.
Spheres, Needles, Dendrites, Irregulars

## Slide 13
Any Questions