IMPACTS 2023 Cloud Probes Status and Updates
David Delene, Jennifer Moore, Christian Nairy, and Marwa Majdi

---
IMPACTS 2023 Cloud Probes
Measurement Size Range
Measurement
Method
1 um	10 um	100 um	1 mm	10 mm
 CDP (2.0-50.0 μm)
Forward Scattering Probes
FCDP (2.0-50.0 μm)
CAPS/CIP (25 um to 1.55 mm)
CPI (2.3 um to 1 mm)
Imaging
Probes
PHIPS (3 um to 2 mm)
2DS (10/50 um to 1.280/6.400 mm)
(2) HVPS-3 (150 um to 19.2 mm)
King (wire) (LWC for 5 to 200 um)
Hot-wire Probes
WCM (wire) (LWC for 5 to 200 um)
Vibrating Cylinder
(2) Rosemount Ice Detector (RICE) (SLW)

---
IMPACTS Cloud Probes

---
2023 Deployment Science Flights
N/A – Not Available
Partially Available
2022/2023	12/05	12/08	12/12	12/16	01/10	01/13	01/15	01/19	01/23	01/25	01/29	02/05	02/09	02/12	02/14	02/16	02/23
CDP
WCM
King
RICE-A
RICE-B
HAWKEYE	N/A				P/A
2D-S
HVPS-3A
HVPS-3B
12/05 – Hawkeye data acquisition system power supply failed.
01/10 – Hawkeye failed mid-flight due to aircraft system power surge.

---
2022 Deployment Science Flights
	1/14	1/17	1/19	1/28	1/29	2/3	2/4	2/8	2/13	2/17	2/19	2/25
CDP	Failed	NA	NA				PA
WCM							PA	NA
King							PA
RICE							PA
Hawkeye
2D-S	NA	NA	NA	Failed	NA	NA	NA
HVPS-3A		NA	NA
HVPS-3B
Notes:
NA - Not Available
PA - Partially Available
1/14 - CDP Failed Upon Take-off
1/29 - 2D-S Failed
2/4 - M300 Data System Failed Mid-flight
2/8 – 2/25 – 2D-S Leak Issue

---
IMPACTS 2022: After Quality Assurance
 ● Total Water Content ● Liquid Water Content

---
IMPACTS 2022: WCM vs. King Probe Comparison
WCM = 0.52*King + 0.009
Correlation = 0.66

---
IMPACTS 2022: WCM vs. CDP (>0.005 g/m3) Comparison
WCM = 0.75*CDP + 0.03
Correlation = 0.74

---
IMPACTS Data Set Status
Quality assurance is being completed for 2023.
Working on getting the 2023 into archive.
Best to use the King Probe LWC.
Time response issue with the WCM.