Investigation of the Existence of Vertically Oriented Ice CRYSTALs in Winter Storms

by

Kendra R. Sand

Bachelor of Science, Embry-Riddle Aeronautical University, 2009

A Thesis

Submitted to the Graduate Facility

of the

University of North Dakota

in partial fulfilment of the requirements

for the degree of

Master of Science

Grand Forks, North Dakota

December

2024

Copyright 2024 Kendra R. Sand

(Reserved for approval page)

(Reserved for permissions page)

Table of Contents

LIST OF FIGURES	 6

LIST OF TABLES	 14

ACKNOWLEDGEMENTS	16

ABSTRACT	 17

CHAPTER I INTRODUCTION	18

CHAPTER II INSTRUMENTATION	22

CHAPTER III DATA PROCESSING	 26

3.1 Quality Assurance	36

CHAPTER IV DATA SET	 40

4.1 Observational Platforms	40

4.2 Additional Observations	43

CHAPTER V METHODOLOGY	 51

5.1 Case Selection	51

5.2 Analysis Approach	56

CHAPTER VI DATA	58

CHAPTER VII RESULTS	74

CHAPTER VIII DISCUSSION	88

CHAPTER IX CONCLUSIONS	90

REFERENCES	94

DATA AND SOFTWARE AVAILABILITY	96

APPENDIX A	97

APPENDIX B	102

list of figures

FIGURE 1	 22

Diagram shows a simplified Two-Dimensional Stereo Optical Array Probe (2D-S) with the vertical channel (2D-SV) laser path in red and the horizontal channel (2D-SH) in green as it originates at the transmitting (T) arms and is sent through the receiving arms (R). The dashed lines show the path each channel takes inside the 2D-S as it is bent 90 degrees twice and is detected by an array of 128 photodiodes, represented by the dotted lines (blue) for each channel. The aircraft-relative reference frame is given, where the x-axis points forward along the direction of flight (aircraft nose), the y-axis points to the right (starboard) wingtip, and the z-axis points down.

FIGURE 2	 24

Diagram illustrates how a variety of vertically oriented columnar and planar ice crystals would appear in the two-dimensional shadow image data of the Two-Dimensional Stereo Optical Array Probe (2D-S) if captured by both the horizontal (green) and vertical (red) channels. The ice crystal and laser beam depictions are not to scale. Each 3-D model of an ice crystal in this figure was given a 90 degree rotation to provide an accurate representation of orthogonal shadow image sampling. Note that the images appear on the 2D-S image strip in succession from left to right as the ice crystals pass through the sampling volume sequentially, which appears to be a mirrored image due to the viewing angle of the figure. The x, y, z labels in the diagram indicate the aircraft-relative coordinate system, whereas the X and Y labeled in blue on the image strip are relative to the 2D-S array axis. The array of 2D-S photodiodes are labeled as 1 to 128 in both the diagram and the image strips in the columnar example. The relative position of the transmitting (T) and receiving (R) arms of the 2D-S are labeled in the planar example for both the horizontal (H) and vertical (V) laser beams.

FIGURE 3	 27

Diagram showing how an in situ idealized hexagonal plate crystal encountering the sampling volume of the Two-Dimensional Stereo Optical Array Probe (2D-S) is recorded in the image data and parameterized by the System for Optical Array Probe (OAP) Data Analysis (SODA-2) processing software using the Fast Circle Method, which generates a smallest enclosing circle for each particle. The measured particle diameter is equal to the diameter of the smallest enclosing circle. The major axis of the particle is identified based on the maximum dimension and is equal to the particle diameter, and the minor axis is orthogonal to the major axis. The Orientation Angle parameter is the angle between the major axis and the 2D-S array axis, with clockwise rotations (towards the direction of flight) being positive angles and counterclockwise rotations being negative angles.

FIGURE 4	 30

Figure shows how particles sampled by the Two-Dimensional Stereo Optical Array Probe (2D-S) and parameterized by System for OAP Data Analysis (SODA-2) define the Orientation Angle parameter of each non-circular particle based on the angle between the major axis of the particle and the array of diodes that receives the laser beam across the sampling volume. A sampled particle that has a major axis parallel with the diode array will result in an Orientation Angle of zero degrees. A clockwise rotation away from the diode array axis is measured as a positive Orientation Angle, and a counterclockwise rotation away from the diode array is a negative Orientation Angle. The range of possible values includes -90 to +90 degree angles. The Orientation Angle is measured by both orthogonally-positioned channels of the 2D-S, with a depiction of the horizontal channel shown in (a) and the vertical channel shown in (b).

FIGURE 5	 30

Example shows randomly selected Two-Dimensional Stereo Optical Array Probe (2D-S) image data that corresponds with the attribute data shown in Table 1 -.

FIGURE 6	 32

Diagrams showing the possible shaded pixel configurations of single (a), dual (b) and (c), and up to three (d) pixel particles, as would be depicted in Two-Dimensional Stereo Optical Array Probe (2D-S) image data and the default orientation angles for each possible pixel configuration.

FIGURE 7	 33

Plot showing the orientation angle histogram for particles with diameters of 10 µm sampled during the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight for the Two-Dimensional Stereo Optical Array Probe (2D-S) horizontal (left) and vertical (right) channels.

FIGURE 8	 33

Plot showing the orientation angle histogram for particles up to 20 µm diameter sampled during the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight for the Two-Dimensional Stereo (2D-S) Optical Array Probe (OAP) horizontal (left) and vertical (right) channels.

FIGURE 9	 34

Plot showing the orientation angle histogram for particles greater than 20 µm but less than or equal to 30 µm in diameter sampled during the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight for the Two-Dimensional Stereo Optical Array Probe (2D-S) horizontal (left) and vertical (right) channels.

FIGURE 10	 36

Plot showing buffer of Two-Dimensional Stereo Optical Array Probe (2D-S) images from the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight at 17:09:35 UTC for the vertical channel. The subsequent buffer is positioned to the right of the preceding buffer to demonstrate a case where an ice crystal was sampled near the end of a data buffer and continued in the next buffer. The black triangle along the bottom of the strip denotes the transition point between buffers, and the timestamp (HHMMSS.ss format and UTC time) is labeled along the top of each image strip.

FIGURE 11	 36

Plot showing buffer of Two-Dimensional Stereo Optical Array Probe (2D-S) images from the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight at 17:10:11 UTC for the vertical channel. The subsequent buffer is positioned to the right of the preceding buffer to demonstrate a case where an ice crystal was sampled near the end of a data buffer and continued in the next buffer. The black triangle along the bottom of the strip denotes the transition point between buffers, and the timestamp (HHMMSS.ss format and UTC time) is labeled along the top of each image strip.

FIGURE 12	 42

This depiction shows a top-view of the NASA P-3 Orion research aircraft and its local frame of reference coordinate system, where the x-axis points out the nose of the aircraft along the direction of flight, the y-axis is aligned with the right wing (starboard side) of the aircraft, and the z-axis points down towards the ground when in level flight. The instrument labels shown in blue mark the mounting locations of each probe assembly when configured for the Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) campaign.

FIGURE 13	 43

Photo depicting the mounting location of the Particle Habit Imaging and Polar Scattering (PHIPS) Probe and Two-Dimensional Stereo Optical Array Probe (2D-S) on the outer pylon of the starboard wing of the NASA P-3 aircraft during the Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) 2020 field campaign.

FIGURE 14	 46

This photo taken during ground testing of the NASA P-3 during the Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) campaign in 2020 shows a wide angle view of Rosemount Icing Detector (RICE) mounting location on the right (starboard) side of the fuselage.

FIGURE 15	 47

This photo taken during the preflight inspection of the January 18, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight shows the left (port) wing probes on the NASA P-3, including the two adjacent, orthogonally mounted High Volume Precipitation Spectrometers (HVPS-3) on the inboard pylon and the Cloud Droplet Probe (CDP), King Liquid Water Content 100 (LWC-100), and Nevzorov Probe on the outboard pylon hot wire boom. Note the inboard mounting location of the CDP on the hot wire boom.

FIGURE 16	 48

This photo taken on February 1, 2020 during ground testing of the NASA P-3 wing-mounted probes during the Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) campaign shows the modified mounting position of the Cloud Droplet Probe (CDP) on the outboard side of the hot wire boom.

FIGURE 17	 49

This photo taken during the preflight inspection of the January 18, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight shows the right (starboard) wing probes on the NASA P-3, including the Particle Habit Imaging and Polar Scattering (PHIPS) on the outboard side of the outboard pylon, the standalone Two-Dimensional Stereo Optical Array Probe (2D-S) on the inboard side of the outboard pylon, and the Hawkeye on the inboard pylon, which contained the Cloud Particle Imager (CPI).

FIGURE 18	 52

This figure shows four pairs of time series plots from the Two-Dimensional Stereo Optical Array Probe (2D-S) horizontal and vertical channels of the orientation angles of all particles sampled during the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight that met the following subset criteria: (a) particles with aspect ratios up to 0.6; (b) all-in particles with aspect ratios up to 0.6; (c) all-in particles greater than 100 µm in diameter with aspect ratios up to 0.6; (d) all-in particles greater than 200 µm in diameter with aspect ratios up to 0.6. Particles are assigned a color based upon the aspect ratio of the particle. The apparent lapse in the data around the 17:24:57 UTC mark is due to a momentary cloud-free segment.

FIGURE 19	 54

Figure shows the same two time series plots four times from the Two-Dimensional Stereo Optical Array Probe (2D-S) horizontal and vertical channels of the orientation angles of all particles sampled during the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight that met the following subset criteria: all-in particles greater than 100 µm in diameter with aspect ratios up to 0.6. Interesting periods are outlined in red and categorized by similar patterns into four types: A, B, C, and D, which will be used as the basis for further investigation and possible identification of particle orientation cases.

FIGURE 20	 55

Figure of a final look at two time series plots from the Two-Dimensional Stereo Optical Array Probe (2D-S) horizontal and vertical channels of the orientation angles of all particles sampled during the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight that met the following refined subset criteria: all-in particles greater than 100 µm in diameter with aspect ratios up to 0.6 and area ratios greater than 0.1.

FIGURE 21	 61

Maps showing the NASA P-3 starting and ending point locations and flight track (red) of each selected case during the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight with the NEXRAD Reflectivity Mosaic displayed. The GPS Altitude (m) of the NASA P-3 is given for each starting and ending point, and the Total Air Temperature (C) is also given for the starting and ending times (UTC) of each case.

FIGURE 22	 64

Plots showing the NASA P-3 True Heading (dark green), Pitch Angle (gray), Roll Angle (medium green), GPS Altitude (light blue), Total Air Temperature (dark blue), and Dew Point Temperature (light green) data for selected cases of the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) science flights.

FIGURE 23	 65

This figure represents one example of the Two-Dimensional Stereo Optical Array Probe (2D-S) image data collected during the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight. The horizontal (vertical) channel is shown on the left (right). The images depicted in blue are the silhouettes of particles sampled by the 2D-S and magnified so that each pixel is equivalent to a width of 10 µm. Each strip of data is a time-series record of the shape, size, orientation, and inter-particle timestamp of sampling occurrence in succession, with a new strip beginning upon the 2D-S reaching its data buffer limit. The beginning timestamp of the buffer is labeled along the lefthand side of each strip in seconds from midnight (sfm). In both channels, the upper left corner of each strip is the origin of the aircraft coordinate system with the positive X-direction pointing down along the short end of the data strip and the positive Y-direction pointing to the right along the long end of the data strip, where the positive X-direction represents the direction of flight, and the positive Y-direction extends away from the aircraft fuselage and toward the right wing tip due to the 2D-S being mounted underneath the right wing.

FIGURE 24	 68

These plots show Lightning Instrument Package (LIP) V2 data from selected cases that were collected during the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) science flight. Each vector component of the cloud top electric field is plotted in Earth coordinates, with En representing the cardinal north direction, Ew positive toward the cardinal west direction, and Eu representing the upward component. Data is smoothed to remove erroneous data points.

FIGURE 25	 71

Plots depict particle concentration measurements made by the Two-Dimensional Stereo Optical Array Probe (2D-S) horizontal (2D-S_H Conc) and vertical channels (2D-S_V Conc) and the Cloud Droplet Probe (CDP) concentration (CDP Conc) during the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight selected cases. The plots each include a segmented line below the x-axis, which indicates distinctive periods identified as relatively “low” (dotted yellow bar) or “high” (pink hatched bar) concentration periods within the case.

FIGURE 26	 76

The histograms show orientation angle occurrences by percentage for all selected cases during the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight. The Two-Dimensional Stereo Optical Array Probe (2D-S) horizontal channel is displayed on the left and the vertical channel is displayed on the right. The corresponding time segments and predominant particle habit types are listed for each case in Table 3 -.

FIGURE 27	 77

Histograms show orientation angle occurrences by percentage for Case #4, which was during the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight at 16:09:40 to 16:15:40 UTC, further subset with an aspect ratio of (a) 0.1 to 0.4, and (b) 0.2 to 0.3. The Two-Dimensional Stereo Optical Array Probe (2D-S)  horizontal channel is displayed on the left and the vertical channel is displayed on the right.

FIGURE 28	 78

These plots show the particle orientation angles (x-axis) by diameter (y-axis) of the preferred angle peaks of all particles sampled by the Two-Dimensional Stereo Optical Array Probe (2D-S) horizontal channel (left) and the vertical channel (right) during Case #4, which was during the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight at 16:09:40 to 16:15:40 UTC, further subset with an aspect ratio of 0.1 to 0.4. The preferred angle peaks were observed in the histograms (Figure 27 -), with a range of 0.0-9.0° for horizontal and 9.0-18.0° for vertical.

FIGURE 29	 81

Histograms depict a comparison of orientation angles observed by the Two-Dimensional Stereo Optical Array Probe (2D-S) horizontal channel (top) and the vertical channel (bottom) during the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight within distinct periods of high and low concentration. This example comes from periods identified within Case #6.

FIGURE 30	 82

Histograms depict a comparison of orientation angles observed by the Two-Dimensional Stereo Optical Array Probe (2D-S) horizontal channel (top) and the vertical channel (bottom) during the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight within distinct periods of high and low concentration. This example comes from periods identified within Case #4.

FIGURE 31	 84

Histograms depict a comparison of orientation angles observed by the Two-Dimensional Stereo Optical Array Probe (2D-S) horizontal channel (left) and the vertical channel (right) during the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight within distinct periods of high and low concentration. These examples come from Cases #1, 2, 5, 8, and 10.

FIGURE 32	 87

The histograms show orientation angle occurrences by percentage for selected cases during the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight in which there were distinct periods of straight and level flight that could be compared to a maneuver other than straight and level flight. The Two-Dimensional Stereo Optical Array Probe (2D-S) horizontal channel is displayed on the left and the vertical channel is displayed on the right.

FIGURE 33	 98

Figure shows that the interior of a Particle Measuring Systems (PMS) canister includes two possible configurations for connecting the pin connecter on the Two-Dimensional Stereo Optical Array Probe (2D-S) to the pin connector on the PMS canister. Configuration A is a connection to the vertical pin connecter, while Configuration B is a connection to the horizontal pin connector. While this provides for flexibility in how the 2D-S probe is installed, it can result in ambiguity as to the orientation of the horizontal and vertical sampling arms. The correct configuration is Configuration A, because it will result in the 2D-S Horizontal Transmitter and Horizontal Receiver arms being parallel with the ground.

FIGURE 34	 99

Plot showing buffer of Two-Dimensional Stereo Optical Array Probe (2D-S) images from the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight for the horizontal channel (a-j) and the vertical channel (k-t). Each subsequent buffer is positioned to the right of the preceding buffer to demonstrate cases where an ice crystal was sampled near the end of a data buffer and continued in the next buffer. The black triangle along the bottom of the strip denotes the tranFigure illustrates a simplified view of the back of a Two-Dimensional Stereo Optical Array Probe (2D-S), where a pin connector is located. The pin connector provides the necessary connection to the Particle Measuring Systems (PMS) canister probe housing during installation. The PMS canister is then connected to the aircraft wiring, and this is the means by which the 2D-S probe receives power and transmits data during flight. There is only one pin connector on the back of the 2D-S probe, but there are two ways it can be oriented in order to connect with the PMS canister pin connector.sition point between buffers, and the timestamp (HHMMSS.ss format and UTC time) is labeled along the top of each image strip.

FIGURE 35	 105

Plot showing buffer of Two-Dimensional Stereo Optical Array Probe (2D-S) images from the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight for the horizontal channel (a-j) and the vertical channel (k-t). Each subsequent buffer is positioned to the right of the preceding buffer to demonstrate cases where an ice crystal was sampled near the end of a data buffer and continued in the next buffer. The black triangle along the bottom of the strip denotes the transition point between buffers, and the timestamp (HHMMSS.ss format and UTC time) is labeled along the top of each image strip.

list of tables

TABLE 1	 30

Example shows Two-Dimensional Stereo Optical Array Probe (2D-S) attribute data as recorded in the particle-by-particle file corresponding to image data (Figure 5 -). Two examples are shown from the 2D-S horizontal (H) channel and two from the 2D-S vertical (V) channel. The three linear measurements given for each imaged particle include the particle diameter based on the fast circle method of processing, and an X and Y measurement, with X representing the dimension parallel to the array axis and Y representing the dimension parallel to the direction of flight. The “all in” flag is a 1 if the particle image is fully contained within the image strip and not in contact with array ends, and the flag is a 0 if the particle is only partially contained within the image strip. The inter-arrival time of each particle is shown in the last column as inter-particle time (IPT).

TABLE 2	 36

Two-Dimensional Stereo Optical Array Probe (2D-S) particle-by-particle attribute data for February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight, vertical channel, which corresponds to the images shown in Figure 10 - and Figure 11 -. The time is given in a [HH:MM:SS] UTC format and a seconds-from-midnight (SSSSS.ss sfm) format. The three linear measurements given for each imaged particle include the particle diameter based on the fast circle method of processing, and an X and Y measurement, with X representing the dimension parallel to the array axis and Y representing the dimension parallel to the direction of flight. The “all in” flag is a 1 if the particle image is fully contained within the image strip and not in contact with array ends, and the flag is a 0 if the particle is only partially contained within the image strip. The inter-arrival time of each particle is shown in the last column as inter-particle time (IPT). More examples of buffer-spanning particles and associated particle attributes are detailed in Appendix B.

TABLE 3	 58

Table listing all cases examined during the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight during the search for ice crystals with vertical orientation or a preferred angle.

TABLE 4	 58

Table listing the predominant particle habit types as determined by visual assessment of corresponding Cloud Particle Imager (CPI) images for all cases examined during the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight during the search for ice crystals with vertical orientation or a preferred angle.

TABLE 5	 66

Table showing the geographical positions and relative distance of the NASA P-3 and NASA ER-2 research aircrafts during selected cases (ID) of the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) science flights. A factor of 111 km/deg was used to convert latitude (Lat.) and longitude (Long.) positions to distances in km. The ER-2 began to depart after Case #4 and was not available during later cases. The geographical (Geograph.) difference is calculated independently of the altitude (Alt.) difference.

TABLE 6	 106

Two-Dimensional Stereo Optical Array Probe (2D-S) particle-by-particle attribute data for February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight, which corresponds to the images shown in Figure 34 -. The time is given in a [HH:MM:SS] UTC format and a seconds-from-midnight (SSSSS.ss sfm) format. The three linear measurements given for each imaged particle include the particle diameter based on the fast circle method of processing, and an X and Y measurement, with X representing the dimension parallel to the array axis and Y representing the dimension parallel to the direction of flight. The “all in” flag is a 1 if the particle image is fully contained within the image strip and not in contact with array ends, and the flag is a 0 if the particle is only partially contained within the image strip. The inter-arrival time of each particle is shown in the last column as inter-particle time (IPT).

acknowledgements

abstract

This thesis investigates the existence of vertically oriented ice crystals in winter storms, as observed through remote sensing and analyzed during the NASA Earth Venture Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) field campaign field campaign. The primary objective was to determine if a preferred angle of ice crystal orientation could be identified in situ using contemporary airborne sampling instruments. Additionally, the study sought to explore potential correlations between the vertical orientation of ice crystals and electric field anomalies at cloud top, as well as the relationship between crystal orientation and particle concentration. To achieve these objectives, Two-Dimensional Stereo Optical Array Probe (2D-S) Image Data were meticulously analyzed to isolate low aspect ratio ice crystals, including columns, needles, and plates, based on predefined subset parameters. Histograms depicting orientation angles were constructed for each case, comparing results from both horizontal and vertical channels. While some trends were observed—particularly a peak near +20 degrees in the vertical channel—the findings revealed no conclusive evidence of genuine vertical orientation due to the absence of null cases. Further, the examination of electric field measurements and particle concentration yielded inconclusive results, with no consistent patterns correlating with the observed orientation. Ultimately, while a preferred angle of orientation was detected, it is postulated that this phenomenon was influenced by external factors, such as airflow around the research aircraft, rather than reflecting the natural state of the ice crystals. This research highlights the need for enhanced in situ electric field measurements and emphasizes the challenges in accurately interpreting ice crystal orientation in dynamic atmospheric conditions.

INTRODUCTION

The nature of ice crystals as they exist suspended in a cloud formation, or when involved in precipitation processes, has become an increasingly crucial pursuit of atmospheric sciences due to the advances of remote sensing technologies that are routinely employed in modern research and weather forecasting. An important and largely overlooked ice crystal property is the spatial arrangement of ice crystal axes and faces, which can exhibit specific orientations due to aerodynamic, electric, and gravitational forces (Weinheimer and Few 1987). Vertical orientation of ice crystals is particularly relevant to their interaction with light and their role in the optical characteristics of clouds. Additionally, the horizontal cross sections of precipitating ice crystals carry significant ramifications relating to fall speed and growth (Jiang et al. 2019).

With support from remote sensing and fluid dynamical modeling, the prevailing assumption is that ice crystals of all shapes and sizes tend to orient with their longest axis roughly parallel to the horizontal plane (Thomas et al. 1990), such as with their broad faces parallel to the Earth's surface, while suspended in a cloud and while precipitating. This assumption is established by an abundance of dual-polarization radar retrievals that measure in a given sample volume a larger return in the horizontal signal than in the vertical, regardless of hydrometeor phase (Hogan 2012). Furthermore, the commonly observed differential reflectivity values suggest that the ambient state of ice crystals within a cloud is not comprised of randomly oriented ice crystals, or else the returned differential reflectivity value would most often tend to be near zero. Differential radar reflectivity can also indicate a larger vertical signal than horizontal, which must be interpreted as a prevailing vertical orientation preference among frozen hydrometeors, resulting in anomalous retrievals. The motivation of this thesis topic was to analyze in situ aircraft measurements that could corroborate the ice crystal orientations sensed remotely and to characterize periods of vertical crystal orientation.

Early work (Magono and Sekiya 1965) to study the preferential orientation of ice crystals involved examining how frost crystals orient in the presence of a controlled electric field within a cold chamber. Outside of laboratory simulations, ice crystal orientation is a subject of considerable difficulty to observe in situ since it is necessary to make measurements under ambient undisturbed air conditions. Remotely-sensed ice crystals observations show a tendency to remain in horizontal orientations unless a disruption causes the crystal to reorient. A disruption to the preferred orientation could come as a result of aerodynamic torque, such as a response to turbulent eddies in the air motion, interactions with or bombardment by other hydrometers, or as a reaction to a charged electric field in a mechanism called electric torque (Weinheimer and Few 1987). A laboratory study (Foster 2002) of the alignment of ice crystals along electric field lines was able to quantify the amount of time it takes for a size-dependent crystal to reorient, showing that crystals with larger diameters are slower to reorient as they require more torque to do so, which has been further examined and modeled in more recent works (Foster 2008 and Hashino et al. 2014).

One of the challenges of observing naturally occurring ice crystals is the requirement of in situ observation in order to understand the natural processes and conditions that cause ice crystal formation and ice crystal behavior in the atmosphere, especially as ice crystals encounter and interact with dynamic conditions. In situ aircraft measurements have revealed some examples of what appeared to be preferred orientations of ice crystals. However, it was unclear to what effect the preferred orientations observed constituted the ambient conditions of the cloud or were created by an induced effect primarily caused by the distortion of airflow around an aircraft in flight (King 1986 and MacPherson 1988).

Our first science question seeks to address whether a preferred angle of ice crystal orientation was observed in situ using present-day airborne sampling instruments from the Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) field campaign. While a second science question attempts to examine if any relationship can be drawn between the vertical orientation of ice crystals and any measurable departure from the static electric field measured at cloud top, henceforth referred to as an electric field anomaly. While the topic of ice crystal orientations as they relate to thunderstorms has been widely and successfully studied, there are far fewer studies that involve cloud charging within winter clouds. One of the challenges in studying electric field anomalies in winter storms is that the instrumentation used to measure electric fields is primarily designed for summer thunderstorm paradigms and may have limitations in resolving the charges a couple orders of magnitude smaller. The electric field conditions measured during the IMPACTS flights was on the order of 10 Vm-1, with a 2020 campaign overall maximum electric field magnitude of 80 Vm-1 (Schultz et al. 2021). Although challenging, the relevancy of linking electric field conditions with winter storms and winter precipitation cannot be overstated. A study (Simpson 1909) where ground measurements of the electric field sampled during precipitation events revealed an electric field charge was dragged down to the ground by frozen precipitation that was much greater than that of liquid precipitation (MacGorman and Rust 1998). It was concluded that snowfall was much more highly charged per unit mass than rain.

Additionally, it is widely understood that inductive charging occurs on an aircraft as it encounters and collides with liquid precipitation, and this principle can be expanded to all hydrometeors, including cloud droplets and ice crystals. If snowfall is much more highly charged per unit mass than its liquid counterparts, it should follow that an aircraft encountering frozen ice crystals experiences an induced level of charging, greater than that of homogeneous liquid cloud droplets or liquid precipitation. Different varieties and designs of aircraft have a differing inductive response to hydrometeor charging effects. The unique response of the research aircraft to encountering differing concentrations and forms of hydrometeors in flight is not measured during most field projects, and definitive quantifications or even rough estimates of this parameter are often not available. Thus, the concentration parameter itself may serve as a proxy to an unknown electric field charge within the clouds. Any relationship between vertical orientation of ice crystals and periods of higher concentration could be used to infer a possible connection via the electric field and suggest a key question for future studies to pursue. Therefore, the third and final science question asks if any relationship between occurrences of vertically oriented ice crystals and areas of high particle concentration exists.

instrumentation

The Two-Dimensional Stereo Optical Array Probe (2D-S) (OAP) is an airborne optical instrument that provides two-dimensional shadow images of in situ particles through the use of two crossed laser beams. Processing of the image data provides particle size and orientation of each particle as well as the overall particle count and concentration calculated at 1 Hz. The two orthogonal channels are labeled “horizontal” and “vertical” and correspond to the alignment of the laser beam containing arms with the Earth’s surface. The probe can be installed within the canister in two different alignments; hence, it is important to ensure the correct configuration has been used so that the data interpretation corresponds to the data labels. A detailed description about the preferred configuration and a recommended method to ensure the correct installation can be found in Appendix A. Ideally, the horizontal arms of the probe should pair with the data channel being recorded as “horizontal” and likewise for the vertical channel. For all three years of the data collection phase of the Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) project, it was verified that the horizontal channel of the 2D-S corresponded to the horizontal arms of the probe, and the vertical channel corresponded to the vertical arms, therefore these otherwise arbitrary designators could be interpreted as intended for this dataset.

The 2D-S (Figure 1) relies on a steady state, 45 mW laser transmitted out of one arm and directly onto an array of 128 photodiodes. Each diode is 42.5 by 50 µm with a 15 µm gap in between. A sheet of light of approximately 2 by 8 mm in size is sent from the transmitting arm across the sampling volume towards the receiving arm. When a particle blocks the laser beam, a shadow is detected by the photodiode array. The 2D-S acquisition system records data to a base file, which contains a distinct set of image data from both the horizontal and vertical channels.

Diagram shows a simplified Two-Dimensional Stereo Optical Array Probe (2D-S) with the vertical channel (2D-SV) laser path in red and the horizontal channel (2D-SH) in green as it originates at the transmitting (T) arms and is sent through the receiving arms (R). The dashed lines show the path each channel takes inside the 2D-S as it is bent 90 degrees twice and is detected by an array of 128 photodiodes, represented by the dotted lines (blue) for each channel. The aircraft-relative reference frame is given, where the x-axis points forward along the direction of flight (aircraft nose), the y-axis points to the right (starboard) wingtip, and the z-axis points down.

To illustrate what vertically oriented ice crystals may look like on 2D-S imagery, Figure 2 depicts an idealized sampling of various vertically-oriented column and plate ice crystals entering the sampling volume of the 2D-S and how each one would appear if sampled by the horizontal and vertical channels. It should be noted this is not the typical orientation of these types of ice crystals, which most often are oriented with their long axis parallel to the horizontal plane. While it is rare that a single particle gets sampled by both channels as it passes through the 2D-S sampling volume, it does occur about 1% of the time. Usually, the two channels function independently and should also be interpreted independently, rather than seeking to match stereographic images of all sampled particles.

The horizontal channel of the 2D-S captures a prism face view of each vertically oriented columnar ice crystal passing through the beam, while the vertical channel captures the basal face. With a slight rotation away from the zenith axis, a columnar ice crystal may reveal more of an orthographic projection vantage point for the 2D-S vertical channel. A vertically oriented plate ice crystal could rotate any direction about its zenith axis and still be considered vertically oriented, which would allow the 2D-S horizontal channel to capture either the basal or prism face of a plate crystal, or some combination thereof. The 2D-S vertical channel is more likely to capture the prism face of a plate crystal in vertical orientation, unless there is some slight rotation about the plate crystal’s horizontal axis, in which case a portion of the basal face may be captured by the vertical channel, as shown in the last plate crystal (example “j”) to pass through in the figure.

Diagram illustrates how a variety of vertically oriented columnar and planar ice crystals would appear in the two-dimensional shadow image data of the Two-Dimensional Stereo Optical Array Probe (2D-S) if captured by both the horizontal (green) and vertical (red) channels. The ice crystal and laser beam depictions are not to scale. Each 3-D model of an ice crystal in this figure was given a 90 degree rotation to provide an accurate representation of orthogonal shadow image sampling. Note that the images appear on the 2D-S image strip in succession from left to right as the ice crystals pass through the sampling volume sequentially, which appears to be a mirrored image due to the viewing angle of the figure. The x, y, z labels in the diagram indicate the aircraft-relative coordinate system, whereas the X and Y labeled in blue on the image strip are relative to the 2D-S array axis. The array of 2D-S photodiodes are labeled as 1 to 128 in both the diagram and the image strips in the columnar example. The relative position of the transmitting (T) and receiving (R) arms of the 2D-S are labeled in the planar example for both the horizontal (H) and vertical (V) laser beams.

data processing

The Airborne Data Processing and Analysis (ADPAA) is a comprehensive software suite comprised of numerous programs and scripts developed by the research group at UND led by Dr. David Delene and shared open source with many other research entities to facilitate the processing and analysis of data obtained from instruments located on various airborne platforms. Data acquired by the M300 is written to an *.sea file, which goes through a few successive levels of processing post-flight. The *.sea file is initially processed by an ADPAA script called process_raw, which outputs a slew of raw files into a post processing directory. The files are further processed by an ADPAA script called process_all and then a project-specific wrapper script called process_all_impacts, which calls a number of programs including the image processing scripts contained in the System for OAP Data Analysis (SODA-2) package.

SODA-2 is an Interactive Data Language (IDL) based data processing package specifically designed by the National Center for Atmospheric Research (NCAR) to handle the processing and viewing of data collected from optical array probes. In order to process the 2D-S base files, SODA-2 requires a true airspeed (TAS) input contained in the flight housekeeping data file. An accurate TAS is critical in the processing of 2D-S data because an airspeed that is either too fast or too slow would result in an artificially elongated or foreshortened, respectively, 2D-S image and lead to unrepresentative images and attribute data. During the operation of the 2D-S in the data collection phase, the TAS was routinely monitored throughout the flight to ensure accuracy of operation.

In particular, the 2D-S relies on the process_raw script to produce the *.basic.1Hz file which contains the true airspeed (TAS) data throughout the flight. This file is used by a script called tas_soda2 to yield the *.SODA_TAS.dat file, which is then used by the IDL initialize_structure processing routine to produce the horizontal and vertical data files, housekeeping files, and particle-by-particle files. The previously mentioned process_all and process_all_impacts scripts call the process_soda2 script, which ultimately produces all the *.1Hz finished product files. The process_soda2 script allows for customization of processing methods and types based on the user’s needs and nature of the sampled data.

Diagram showing how an in situ idealized hexagonal plate crystal encountering the sampling volume of the Two-Dimensional Stereo Optical Array Probe (2D-S) is recorded in the image data and parameterized by the System for Optical Array Probe (OAP) Data Analysis (SODA-2) processing software using the Fast Circle Method, which generates a smallest enclosing circle for each particle. The measured particle diameter is equal to the diameter of the smallest enclosing circle. The major axis of the particle is identified based on the maximum dimension and is equal to the particle diameter, and the minor axis is orthogonal to the major axis. The Orientation Angle parameter is the angle between the major axis and the 2D-S array axis, with clockwise rotations (towards the direction of flight) being positive angles and counterclockwise rotations being negative angles.

The Fast Circle Method was selected as the SODA-2 processing method for ice crystals sampled by the 2D-S during the IMPACTS field campaign, and it involves fitting a circle around each crystal just large enough so as to fully encompass the crystal within the circle. The diameter of the circle is equal to the length of the major axis of the crystal. The angle of the major axis in relation to the direction of flight defines the Orientation Angle parameter in units of degrees (Figure 3), given in values ranging between -90.0 and +90.0 degrees (Figure 4).

| Particle Orientation Angle=cos-1(B∙CB2∙C2 ) | (1) |
| --- | --- |

SODA-2 computes the Orientation Angle of each particle through a simple trigonometric calculation.

Sides “B” and C” indicate the adjacent and hypotenuse sides of a right angle triangle formed by comparing a particle’s major axis versus the 2D-S laser diode array axis, and the angle between constitutes the particle’s orientation angle (1).

In the data processing, an orientation angle is calculated for every particle, even if the particle is a perfect circle and has no orientation. Therefore, in order to make practical sense of this parameter, it is important to exclude the circular particles from the dataset. Specifically, a vertically oriented ice crystal must be defined as having a vertical dimension that is greater than its horizontal dimension. A good way to characterize this desired attribute is by aspect ratio, which is the unitless ratio of the major to the minor axis of the particle (Figure 3), with values ranging between zero and one.

(b)

(a)

Figure shows how particles sampled by the Two-Dimensional Stereo Optical Array Probe (2D-S) and parameterized by System for OAP Data Analysis (SODA-2) define the Orientation Angle parameter of each non-circular particle based on the angle between the major axis of the particle and the array of diodes that receives the laser beam across the sampling volume. A sampled particle that has a major axis parallel with the diode array will result in an Orientation Angle of zero degrees. A clockwise rotation away from the diode array axis is measured as a positive Orientation Angle, and a counterclockwise rotation away from the diode array is a negative Orientation Angle. The range of possible values includes -90 to +90 degree angles. The Orientation Angle is measured by both orthogonally-positioned channels of the 2D-S, with a depiction of the horizontal channel shown in (a) and the vertical channel shown in (b).

Initial analysis of 2D-S data showed a high number of particles with an orientation angle near ±90 degrees and exactly 0.0 degrees. It is important to understand if the clustering at these orientation angles is a data processing artifact or a valid observation. A direct comparison of every individual particle image with the associated 2D-S particle-by-particle attributes is not immediately feasible due to lack of robust visualization software. Hence, the data set is filtered to obtain times when particles had particular orientation angles. The filtering of the particle-by-particle data to only include “all in” particles eliminated the peak in the frequency distribution near ±90 degrees. The “all in” term means that the boundaries of the entire particle are within the diode array and excludes particles that are in contact with array ends.

Example shows randomly selected Two-Dimensional Stereo Optical Array Probe (2D-S) image data that corresponds with the attribute data shown in Table 1 -.

Example shows Two-Dimensional Stereo Optical Array Probe (2D-S) attribute data as recorded in the particle-by-particle file corresponding to image data (Figure 5). Two examples are shown from the 2D-S horizontal (H) channel and two from the 2D-S vertical (V) channel. The three linear measurements given for each imaged particle include the particle diameter based on the fast circle method of processing, and an X and Y measurement, with X representing the dimension parallel to the array axis and Y representing the dimension parallel to the direction of flight. The “all in” flag is a 1 if the particle image is fully contained within the image strip and not in contact with array ends, and the flag is a 0 if the particle is only partially contained within the image strip. The inter-arrival time of each particle is shown in the last column as inter-particle time (IPT). 2DS Ch. is the 2D-S Channel, Dia. is the particle diameter, Asp. Ratio is the aspect ratio, and AI represents the “all in” flag.

| 2DS Ch. | ID | Time | Dia. | Area Ratio | Asp. Ratio | Ang. | AI | X | Buffer Time | Y | IPT |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | (sec) | (μm) |  |  | (deg) |  | (μm) | (sec) | (μm) | (sec) |
| H | A | 61786.926 | 1097 | 0.22 | 0.24 | -28.0 | 1 | 1000 | 61786.926 | 610 | 0.000671 |
| H | B | 61786.926 | 731 | 0.36 | 0.49 | -33.7 | 1 | 670 | 61786.926 | 460 | 0.003619 |
| V | C | 61786.770 | 1214 | 0.19 | 0.25 | 29.3 | 0 | 1090 | 61786.770 | 640 | 0.001291 |
| V | D | 61786.020 | 927 | 0.29 | 0.33 | 6.9 | 0 | 920 | 61786.020 | 390 | 0.003834 |

The majority of the particles with an orientation angle equal to 0.0 degrees had diameters of 10 µm, which is the smallest size particle possible for the 2D-S data set since the diodes are 10 µm. Particles of a 10 µm diameter size have only one pixel shaded in the image; hence, the circle fit processing method results in an eccentricity of 1. Such perfect circle particles have a default orientation angle value of 0.0 degrees (Figure 6). Therefore, 100 percent of the 10 µm particles have an orientation angle of 0.0 degrees (Figure 7). Particles of a 20 µm diameter size have two pixels shaded in the image, and they appear in one of two possible configurations: either side-by-side or stacked one atop the other. Therefore, the two possible orientation angles for the 20 µm diameter particles are +90.0 degrees and 0.0 degrees (Figure 6, Figure 8). Particles greater than 20 µm but less than or equal to 30 µm have four possible configurations (Figure 6, Figure 9): three pixels side-by-side, three pixels stacked, two pixels diagonal with either a positive or negative 45 degree angle rotation away from the 2D-S array axis.

(b)

(a)

(d)

(c)

Diagrams showing the possible shaded pixel configurations of single (a), dual (b) and (c), and up to three (d) pixel particles, as would be depicted in Two-Dimensional Stereo Optical Array Probe (2D-S) image data and the default orientation angles for each possible pixel configuration.

.

Plot showing the orientation angle histogram for particles with diameters of 10 µm sampled during the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight for the Two-Dimensional Stereo Optical Array Probe (2D-S) horizontal (left) and vertical (right) channels.

Plot showing the orientation angle histogram for particles up to 20 µm diameter sampled during the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight for the Two-Dimensional Stereo (2D-S) Optical Array Probe (OAP) horizontal (left) and vertical (right) channels.

Plot showing the orientation angle histogram for particles greater than 20 µm but less than or equal to 30 µm in diameter sampled during the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight for the Two-Dimensional Stereo Optical Array Probe (2D-S) horizontal (left) and vertical (right) channels.

| Number of Possible Orientaton Angles=2n-1for diameter n×101μm | (2) |
| --- | --- |

The histograms, comprising one, two, and four-node data representations, demonstrate that particles with diameters of 30 µm or smaller exhibit a pronounced concentration of orientation angles at 0, -45, +90, and +45 degrees within the dataset. For all particles up to and including 40 µm in diameter, the mathematical relationship given in Equation (2) was found to describe the number of possible orientation angles that the 2D-S could assign based on the pixel resolution. For particles with diameters greater than 40 µm, more random possibilities for orientation angles exist, and the relationship in Equation (2) no longer applies.

Consequently, it is necessary to exclude these particles from the analysis. The non-randomized distribution of orientation angles is not limited to particles with diameters of 40 µm or less but extended to those with diameters of 100 µm or less, warranting their removal from the dataset. After filtering out particles with diameters of 100 µm or less, the subset displays a more uniform distribution of orientation angles, enabling an exploration of potential patterns and preferred orientation angles within the remaining periods of interest.

Quality Assurance

Regarding SODA-2 Processing of 2D-S image data, the high frequency of orientation angle near ±90 degrees and 0.0 degrees analysis resulted in discovery of possible processing issues. The 2D-S orientation analysis manually matched individual particles with the associated particle attribute. The manual matching looked at particles during periods of high particle concentration when the data buffers would fill. During such periods, particles captured by the 2D-S could span two subsequent buffers. The occurrence of particle frames being split across separate buffer boundaries is not an unusual event and is detailed in the 2D-S Technical Manual Rev. 3.1, para. 4.2.3 (Stratton Park Engineering Company, 2011). The particle attributes of two such buffer-spanning particles indicated that a single particle had two corresponding attributes, which results in inaccurate particle attributes since neither attribute corresponded to particle spanning the buffers.

Plot showing buffer of Two-Dimensional Stereo Optical Array Probe (2D-S) images from the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight at 17:09:35 UTC for the vertical channel. The subsequent buffer is positioned to the right of the preceding buffer to demonstrate a case where an ice crystal was sampled near the end of a data buffer and continued in the next buffer. The black triangle along the bottom of the strip denotes the transition point between buffers, and the timestamp (HHMMSS.ss format and UTC time) is labeled along the top of each image strip.

Plot showing buffer of Two-Dimensional Stereo Optical Array Probe (2D-S) images from the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight at 17:10:11 UTC for the vertical channel. The subsequent buffer is positioned to the right of the preceding buffer to demonstrate a case where an ice crystal was sampled near the end of a data buffer and continued in the next buffer. The black triangle along the bottom of the strip denotes the transition point between buffers, and the timestamp (HHMMSS.ss format and UTC time) is labeled along the top of each image strip.

Two-Dimensional Stereo Optical Array Probe (2D-S) particle-by-particle attribute data for February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight, vertical channel, which corresponds to the images shown in Figure 10 and Figure 11. The time is given in a [HH:MM:SS] UTC format and a seconds-from-midnight (SSSSS.ss sfm) format. The three linear measurements given for each imaged particle include the particle diameter based on the fast circle method of processing, and an X and Y measurement, with X representing the dimension parallel to the array axis and Y representing the dimension parallel to the direction of flight. The “all in” flag is a 1 if the particle image is fully contained within the image strip and not in contact with array ends, and the flag is a 0 if the particle is only partially contained within the image strip. The inter-arrival time of each particle is shown in the last column as inter-particle time (IPT). More examples of buffer-spanning particles and associated particle attributes are detailed in Appendix B.

| Time | ID | Time | Diam. | Aspect Ratio | Angle | All In | X | Buffer Time | Y | IPT |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| [UTC] |  | [sfm] | [μm] |  | [deg] |  | [μm] | [sec] | [μm] | [sec] |
| 17:09:35 | l-1 | 61775.2230 | 276 | 0.64 | 19.8 | 1 | 260 | 61775.2230 | 200 | 0.000112 |
|  | l-2 | 61775.2230 | 185 | 0.58 | 18.4 | 1 | 180 | 61775.2230 | 130 | 0.000512 |
|  | l-3 | 61775.2230 | 532 | 0.59 | -32.5 | 0 | 470 | 61775.2230 | 380 | 0.004521 |
|  | l-4 | 61775.2230 | 1261 | 0.38 | -87.3 | 0 | 430 | 61775.2230 | 1260 | 0.000841 |
|  | l-5 | 61775.2700 | 1260 | 0.41 | 87.7 | 0 | 510 | 61775.2700 | 1210 | 0.000026 |
|  | l-6 | 61775.2700 | 871 | 0.70 | 38.9 | 1 | 740 | 61775.2700 | 730 | 0.000412 |
|  |  | 61775.2700 | 1110 | 0.20 | 89.5 | 0 | 220 | 61775.2700 | 1110 | 0.006587 |
| 17:10:11 |  | 61811.5670 | 161 | 0.58 | -82.4 | 0 | 80 | 61811.5670 | 160 | 0.000681 |
|  |  | 61811.5670 | 869 | 0.42 | -9.7 | 1 | 860 | 61811.5670 | 440 | 0.000257 |
|  |  | 61811.5670 | 579 | 0.57 | 39.3 | 0 | 470 | 61811.5670 | 400 | 0.000325 |
|  |  | 61811.5670 | 95 | 0.82 | 69.4 | 1 | 60 | 61811.5670 | 90 | 0.002299 |
|  | t-1 | 61811.5670 | 1093 | 0.56 | 9.4 | 1 | 1080 | 61811.5670 | 580 | 0.000997 |
|  | t-2 | 61811.5670 | 1151 | 0.27 | 25.4 | 0 | 1040 | 61811.5670 | 540 | 0.003118 |
|  | t-3 | 61811.5820 | 1945 | 0.77 | 58.5 | 0 | 1150 | 61811.5820 | 1660 | 0.000428 |
|  | t-4 | 61811.5820 | 2030 | 0.59 | 52.8 | 0 | 1280 | 61811.5820 | 1680 | 0.00116 |
|  |  | 61811.5820 | 2703 | 0.48 | 62.1 | 0 | 1280 | 61811.5820 | 2440 | 0.000949 |
|  |  | 61811.5820 | 24 | 0.62 | -45.0 | 1 | 20 | 61811.5820 | 20 | 0.000619 |

Note that the attribute data in Figure 11 appears to accurately describe all the particles shown in the associated images (Figure 10, Figure 11), except for the last particle in the first buffer of each example. There is no particle attribute data in the particle-by-particle file that describes these large particles at the end of a buffer, and this omission causes an inaccurate representation of particle dimensions, and while still only counting it as a single particle, the overall particle count and concentration integrity remains intact. This processing error was brought to the attention of the software developer who has since rectified the issue.

Data set

The Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) was a major five-year NASA Earth Venture project. IMPACTS had three field projects to collect ground based, satellite based, and airborne in situ and high-altitude data across the Northeastern and Midwestern United States in January and February of 2020, 2022, and 2023. The field projects obtained observations during synoptic and mesoscale baroclinic winter storm events. The science team was led by the University of Washington. The team included researchers from the National Oceanic and Atmospheric Administration (NOAA), NASA, NCAR, and the National Weather Service (NWS), students and professors from the University of North Dakota (UND) and several other universities.

Observational Platforms

The IMPACTS field campaign utilized the NASA P-3 Orion research aircraft to conduct in situ sampling of middle and lower tropospheric clouds. The P-3 Orion was originally designed to be used as a long-range, military, maritime patrol aircraft able to carry explosive ordinance. The P-3 is still widely used in both military and civilian operations. The NASA P-3 has been extensively modified to conduct a wide variety atmospheric observations all around the globe. In addition to the P-3, the NASA ER-2 High-Altitude Airborne Science Aircraft was a key platform in the IMPACTS campaign. The ER-2 is a single occupant, high altitude research aircraft operated by NASA’s Armstrong Flight Research Center. During IMPACTS, ideally, the ER-2 was deployed coincidently with the NASA P-3 Orion research aircraft and provided concurrent remote sensing observations from an overhead vantage point at an altitude of approximately 20 km. The ER-2 was outfitted with four different radars, including the Cloud Radar System (CRS), ER-2 X-Band Doppler Radar (EXRAD), Cloud Physics Radar (CPR), and a Ka-band radar called the High-Altitude Imaging Wind and Rain Airborne Profiler (HIWRAP), two different radiometers, which were the Conical Scanning Millimeter-Wave Imaging Radiometer (CoSMIR) and the Advanced Microwave Precipitation Radiometer (AMPR), and a Lightning Instrument Package (LIP). The IMPACTS project included space-based platforms, such as the Geostationary Orbiting Earth Satellite GOES-16/17, NASA’s CloudSat, and NASA’s Global Precipitation Measurement (GPM) satellite to provide a broader atmospheric context and contribute to the understanding of winter storm dynamics and microphysics. The 2020 field project had ground-based support from Stony Brook University and University of Illinois Urbana-Champaign mobile sounding teams.

For the IMPACTS field campaign, the NASA P-3 (Figure 12) was equipped with a full suite of microphysics probes, including multiple optical and hot wire probes, an advanced counterflow virtual impactor called the Water Isotope System for Precipitation and Entrainment Research (WISPER), an Advanced Vertical Atmospheric Profiling System (AVAPS) that deployed dropsondes, and a Turbulent Air Motion Measurement System (TAMMS) from NASA Langley Research Center. The hot wire probes included the Nevzorov Probe in 2020, which was replaced by the Water Content Monitor 3000 (WCM-3000) for 2022 and 2023. Additionally, all three projects included the King Liquid Water Content 100 (LWC-100) Probe, which was mounted on the left (port) wing, outboard pylon; henceforth, termed the hot wire boom. The hot wire boom also hosted a Cloud Droplet Probe (CDP). The optical probes included two adjacent High-Volume Precipitation Spectrometers (HVPS-3) by Stratton Park Engineering Company (SPEC) on the left wing, inboard pylon. The right wing, inboard pylon had a SPEC Hawkeye, which contained the Fast Cloud Droplet Probe (FCDP), two Two-Dimensional Stereo Optical Array Probes (2D-S) and a Cloud Particle Imager (CPI). The left canister, outboard pylon on the right wing had a standalone 2D-S probe, while the right canister had a Karlsruhe Institute of Technology Particle Habit Imaging and Polar Scattering (PHIPS) instrument. Additionally, a Collins Aerospace Rosemount Icing Detector (RICE) was located on the right side fuselage. Structurally, the P-3 was modified between the 2020 and 2022 campaigns due to a catastrophic aileron stress fracturing on both wings that occurred at the end of the 2020 campaign. The pylon redesign used a different method to secure wing-mounted probes, which may have contributed to slightly different airflow around the probe.

Data was obtained from the CDP and RICE using serial (RS-422) lines and recorded using a Science Engineering Associates (SEA) model 300 Data Acquisition System (M300). The Nevzorov and King Probe data were acquired by the M300 using an Analog-to-Digital Board. The SPEC probes each had their own data acquisition system. All the data acquisition systems were time synced using the on-board Network Time Protocol (NTP) server at the start of each flight and checked to ensure all times were synced to within 1 s.

This depiction shows a top-view of the NASA P-3 Orion research aircraft and its local frame of reference coordinate system, where the x-axis points out the nose of the aircraft along the direction of flight, the y-axis is aligned with the right wing (starboard side) of the aircraft, and the z-axis points down towards the ground when in level flight. The instrument labels shown in blue mark the mounting locations of each probe assembly when configured for the Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) campaign.

Additional Observations

The IMPACTS campaign included the use of a total of two 2D-S instruments, with one being a standalone mounted on the inboard side of the outboard pylon on the right (starboard) wing as shown in Figure 12 -, which is responsible for providing the 2D-S dataset used in this study. The additional 2D-S instrument was part of the Hawkeye multi-instrument suite, which included a Cloud Imaging Probe (CPI), a Fast Cloud Droplet Probe (FCDP), a 2D-S processed at 10 µm and 50 µm resolutions. Data from the Hawkeye 2D-S instrument was not used in this study due to an assumption that particles entering the Hawkeye airstream may undergo significant re-orientation.

Photo depicting the mounting location of the Particle Habit Imaging and Polar Scattering (PHIPS) Probe and Two-Dimensional Stereo Optical Array Probe (2D-S) on the outer pylon of the starboard wing of the NASA P-3 aircraft during the Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) 2020 field campaign.

In order to conduct airborne measurements of the electric field, the ER-2 was equipped with seven electric field mills that together comprise a set called the Lightning Instrument Package (LIP). Each field mill was identical in its theory of operation to one another but each one measured a specific component of the electric field, depending on where it was mounted on the ER-2 aircraft. During the IMPACTS field campaign, the seven unique mounting locations of the field mills were on the top of the fuselage immediately aft of the canopy, on the bottom of the fuselage forward of the canopy, one atop the right wing, one under the right superpod (forward the leading edge of the wing), one atop the left wing, and two under the left superpod (one forward and one aft the leading edge of the wing). Each field mill contained a rotating vane that when rotating, exposed a direct current sinusoidal wave that emanated from the mill. Also exposed by the rotating vane were the stator electrodes underneath the vane that sensed the atmospheric electric field component charge. The internal circuitry of the field mill were designed to be held at a constant, near-ground charge value, and any deviation from that value were calculated as fluctuations in the atmospheric electric field. With the full set of electric field mills, the LIP was able to derive a measurement for the magnitude and direction of each component vector of the atmospheric electric field charge (Q) at the cloud tops as well as a measurement of the local charge on the ER-2 aircraft (Eq). Through the data processing conducted by the principle investigators (Schultz et al. 2021) based at NASA Marshall Space Flight Center, the LIP data (Mach et al., 2020) was conveniently made available in either aircraft-based coordinates (Ex, Ey, Ez, Eq) or earth coordinates (En, Ew, Eu, Em).

An icing detector is a common accoutrement on an aircraft, and during the IMPACTS campaign, the Rosemount Icing Detector was utilized to detect the presence of supercooled liquid water in flight. The instrument consists primarily of a metal sensing rod that protrudes from an airfoil strut mounted to the instrument base. During IMPACTS, the mounting location of the RICE was on the right side of the fuselage of the P-3, forward of the wing (Figure 14). The sensing rod vibrates at a frequency of approximately 40,000 Hz. Supercooled liquid water is known to freeze near instantaneously upon contact with metal surfaces such as the sensing rod of the RICE. As ice accretes onto the sensing rod, the 40,000 Hz vibration rate decreases to a lower frequency proportionally to how quickly it accretes. Any decrease, therefore, in frequency can be interpreted as the presence of supercooled liquid water, and a rapid decrease in frequency indicates a greater amount of supercooled liquid water. At a preset threshold, the RICE activates an airfoil strut heater until the accumulated ice has melted off the probe to allow for further detections of supercooled liquid water. The frequency data of the Rosemount Icing Detector was shown for the selected cases of vertical ice crystal orientation to provide further context for each case.

This photo taken during ground testing of the NASA P-3 during the Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) campaign in 2020 shows a wide angle view of Rosemount Icing Detector (RICE) mounting location on the right (starboard) side of the fuselage.

The Cloud Droplet Probe (CDP) uses a forward-scattering optical system to transmit a laser beam of light from a transmitting to a receiving arm, and it includes only one set of transmitting and receiving arms that can be mounted either vertically or horizontally. The specialty of the CDP is to focus on cloud droplets, hence its smaller operating range of 2 to 50 µm. The CDP provides useful information about the sizing, shape, and count of cloud droplets, which is useful in determining the concentration and liquid water content (LWC) in situ. The CDP concentration and LWC data are provided for each case in order to further characterize the environment in which cases of vertical ice crystal orientation were observed. During the 2020 IMPACTS field campaign, the CDP was initially mounted in a vertical beam position on the inboard side of the outboard pylon on the left (port) wing as part of the hot wire boom (Figure 15). Midway through the campaign, the CDP position was altered to the outboard position of the hot wire boom (Figure 16).

This photo taken during the preflight inspection of the January 18, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight shows the left (port) wing probes on the NASA P-3, including the two adjacent, orthogonally mounted High Volume Precipitation Spectrometers (HVPS-3) on the inboard pylon and the Cloud Droplet Probe (CDP), King Liquid Water Content 100 (LWC-100), and Nevzorov Probe on the outboard pylon hot wire boom. Note the inboard mounting location of the CDP on the hot wire boom.

This photo taken on February 1, 2020 during ground testing of the NASA P-3 wing-mounted probes during the Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) campaign shows the modified mounting position of the Cloud Droplet Probe (CDP) on the outboard side of the hot wire boom.

The Cloud Probe Imager (CPI) and Particle Habit Imaging and Polar Scattering (PHIPS) were used in this study as supplemental data to view images of particles encountered during the selected cases in order to better illustrate or enhance confidence about the particle habit classifications. The CPI is an imaging instrument that captures high-speed images of cloud and aerosol particles and can also provide information about particle habit, size, and concentration. The CPI that was flown aboard the P-3 on the inboard pylon of the starboard (right) wing, housed within the Hawkeye multi-instrument suite, which also contained a Fast Cloud Droplet Probe (FCDP) and a 2D-S instrument. The PHIPS (Figure 17) is another imaging instrument that was flown on the P-3 during the IMPACTS campaign that provides polarimetric imaging of particles in situ using a laser beam illumination and also records the incident light-scattering properties of each unique particle.

This photo taken during the preflight inspection of the January 18, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight shows the right (starboard) wing probes on the NASA P-3, including the Particle Habit Imaging and Polar Scattering (PHIPS) on the outboard side of the outboard pylon, the standalone Two-Dimensional Stereo Optical Array Probe (2D-S) on the inboard side of the outboard pylon, and the Hawkeye on the inboard pylon, which contained the Cloud Particle Imager (CPI).

METHODOLOGY

Based on an initial examination of the dataset, it was determined that an appropriate range of aspect ratios to include in this study is up to 0.6 for plates and columnar ice crystals, and in the range of 0.2-0.3 for needle ice crystals.

Case Selection

Going back to the concept of idealized cases of vertical ice crystal orientation presented earlier (Figure 2), a vertical ice crystal orientation event should bring about a near zero orientation angle in the 2D-S horizontal channel and potentially a near zero or another commonly preferred angle within the 2D-S vertical channel. In order to quickly and comprehensively identify periods when such orientation angle groupings were occurring, a time series of orientation angles for all particles sampled within a flight were plotted. The February 7, 2020 IMPACTS flight was initially selected due to the abundance of cloud particle data throughout the flight.

(d)

(c)

(b)

(a)

This figure shows four pairs of time series plots from the Two-Dimensional Stereo Optical Array Probe (2D-S) horizontal and vertical channels of the orientation angles of all particles sampled during the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight that met the following subset criteria: (a) particles with aspect ratios up to 0.6; (b) all-in particles with aspect ratios up to 0.6; (c) all-in particles greater than 100 µm in diameter with aspect ratios up to 0.6; (d) all-in particles greater than 200 µm in diameter with aspect ratios up to 0.6. Particles are assigned a color based upon the aspect ratio of the particle. The apparent lapse in the data around the 17:24:57 UTC mark is due to a momentary cloud-free segment.

The initial set of plots in Figure 18 had a high occurrence of particles with an orientation angle near ± 90.0 degrees and near 0.0 degrees (a), but the exclusion of particles that were not flagged as being “all in” reduced the high occurrence of particles with angle near ± 90.0 degrees (b). It was less apparent to identify any benefit of limiting the dataset to particles greater than 100 µm in diameter (c), but it was necessary to discard these smaller particles and fragments due to the non-uniformity of orientation angle distributions as shown previously. Raising the lower threshold to 200 µm diameters did not eliminate the high occurrence near 0.0 degrees (d), and in an effort to preserve as much of the dataset as was practical, the 100 µm diameter was selected to be an acceptable lower threshold for the case selection process.

Therefore, set (c) was used to select and examine cases. Figure 19 shows, once again, the time series plot using the subset parameters for set (c), but with interesting periods showing a pattern of non-uniform distribution of orientation angles outlined in red. This method was the starting point for selecting cases to examine. Cases were based on interesting periods of groupings of orientation angles, which could be indicative of a preferred angle and/or a vertical orientation event.

Figure shows the same two time series plots four times from the Two-Dimensional Stereo Optical Array Probe (2D-S) horizontal and vertical channels of the orientation angles of all particles sampled during the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight that met the following subset criteria: all-in particles greater than 100 µm in diameter with aspect ratios up to 0.6. Interesting periods are outlined in red and categorized by similar patterns into four types: A, B, C, and D, which will be used as the basis for further investigation and possible identification of particle orientation cases.

The breakdown into four type categories was a reflection of certain patterns that appeared in the orientation angle time series plots from the 2D-S horizontal and vertical channels. This does not constitute an analysis of the data, but rather an initial impression from which cases were selected. The Type A cases appeared to favor opposing polarity of orientation angles between the horizontal and vertical channels. Type B cases seem to have lower concentrations in general, and/or a higher preference towards near-zero orientation angles. Type C cases appear to be either higher concentration that are more uniformly distributed but with an apparent grouping distinct from the overall high occurrence of near-zero orientation angles. Finally, Type D cases either have a very high occurrence of near-zero orientation angles particularly within the lower aspect ratio particles, or otherwise an especially high percentage of lower aspect ratio concentrations.

Further examination of the potential cases of interest revealed a high occurrence of low aspect ratio particles grouped near orientation angles of zero degrees, which did not appear to be consistent with the bulk of the image data of interest. Requiring an area ratio of 0.1 or greater eliminated most of the contaminating noise and yielded a higher quality subset as shown in Figure 20 -. The same periods of interest identified previously were used for the final case selection with the refined subset parameters applied.

Figure of a final look at two time series plots from the Two-Dimensional Stereo Optical Array Probe (2D-S) horizontal and vertical channels of the orientation angles of all particles sampled during the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight that met the following refined subset criteria: all-in particles greater than 100 µm in diameter with aspect ratios up to 0.6 and area ratios greater than 0.1.

Analysis Approach

In order to identify special occurrences of vertical ice crystal orientation, it was equally important to be able to demonstrate occurrences of either random ice crystal orientation or predominantly horizontally-oriented ice crystals as would be expected as the natural fall orientation during precipitation events. Thus, the analysis must seek to identify cases of vertically oriented ice crystals as well as null cases if any meaning can be derived from the observations of either. If the sought out cases of predominantly vertical orientation could not be directly observed in the dataset, a secondary approach to the analysis was to identify if any cases revealed that groupings of a preferred orientation angle exists.

As availability of data allowed, LIP data was provided for all cases of vertical ice crystal orientation or preferred angle orientation and for any null cases. In doing so, the analysis established if any relationship exists between any identified cases of ice crystal orientation within the cloud and the electric field at cloud top, as measured by the LIP. If cases of vertical ice crystal orientation tend to occur during periods when the electric field departs from the static field and becomes more polarized or active, then it could be said there must be some relationship between the cloud top electric field and the ice crystals becoming vertically oriented or oriented to a preferred angle apart from a uniform distribution of orientation angles.

Select cases were further analyzed by the associated particle concentration measurements taken during the time period of each case. The analysis attempted to classify subcases of high concentration and low concentration. For each concentration subcase, the original analysis was repeated by producing a histogram of orientation angles for all particles within the dataset during the low concentration period and the high concentration period. Partitioning the cases of ice crystal orientation under such scrutiny revealed if the preferred angles of orientation amplify, dampen, or remain unchanged as the overall particle concentration during the period varied between low and high. This investigation helped characterize if there are any contributions that particle concentration may have on the factors behind ice crystal orientation events in the absence of an electric field measurement within the cloud.

DATA

The February 7, 2020 IMPACTS flight involved a mature synoptic low pressure system that was situated over the Northeastern United States after it had travelled eastward along the Canadian-United States border in the days prior. The low pressure system was associated with a deep, negatively tilted trough and was supported by a significant, combined jet region in excess of 200 knots comprised of the Polar Front and Subtropical Jets. The cyclone had a history of producing hazardous winter weather, including heavy snowfall, mixed-phase precipitation, strong winds, and blizzards across the Northern United States and was forecasted to be a significant event for the New England states on February 7th as it was continuing to rapidly deepen. The IMPACTS Science Team fully mobilized with extensive preparation, forecasting, and ongoing coordination between ground crews, the NASA P-3, and the NASA ER-2, targeting snow bands over the New York region, where heavy snow and traffic repercussions were already being reported. The P-3 flew in a clockwise racetrack pattern (Figure 21) at varying altitudes within the extensive cloud cover associated with the comma head deformation zone over an occluded front. Also displayed in Figure 21 is the ground-based, national radar mosaic of composite reflectivity, which shows a gradual reflectivity gradient in the west, consistent with stratiform snow clouds, and a concentration of higher reflectivities in the east where cumuliform generating cells were present. It is notable that at approximately equal altitudes, the ambient temperature tended to be warmer when flying through the generating cells, consistent with the upward vertical motion found in these areas, and located overhead of rain reports at the surface. Due to the science objectives for this thesis, the cases sought to isolate cases of low aspect ratio particles encountered during the flight.

Table listing all cases examined during the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight during the search for ice crystals with vertical orientation or a preferred angle. The start and end times for each case are presented in both UTC and in seconds from midnight (sfm). The number of particles sampled within the previously defined subsets is given for the horizontal (NH) and vertical (NV) channels. The duration of each case is listed in total number of seconds (s) as well as the equivalent minutes (min).

| ID |  | Case Start Time |  |  | Case End Time |  |  | Particle Count |  |  | Case Duration |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| # | [UTC] |  | [sfm] | [UTC] |  | [sfm] | NH |  | NV | [s] |  | [min] |
| 1 | 14:57:00 |  | 53820 | 15:19:59 |  | 55199 | 20816 |  | 24493 | 1379 |  | 23.0 |
| 2 | 15:23:40 |  | 55420 | 15:30:40 |  | 55840 | 15007 |  | 18163 | 420 |  | 7.0 |
| 3 | 15:48:00 |  | 56880 | 15:55:50 |  | 57350 | 5980 |  | 7179 | 470 |  | 7.8 |
| 4 | 16:09:40 |  | 58180 | 16:15:40 |  | 58540 | 31575 |  | 35015 | 360 |  | 6.0 |
| 5 | 16:22:00 |  | 58920 | 16:28:20 |  | 59300 | 12988 |  | 13275 | 380 |  | 6.3 |
| 6 | 17:04:50 |  | 61490 | 17:12:00 |  | 61920 | 9406 |  | 9830 | 430 |  | 7.2 |
| 7 | 17:29:25 |  | 62965 | 17:36:35 |  | 63395 | 3213 |  | 3760 | 430 |  | 7.2 |
| 8 | 17:36:36 |  | 63396 | 17:43:40 |  | 63820 | 2833 |  | 3326 | 424 |  | 7.1 |
| 9 | 17:46:00 |  | 63960 | 18:07:20 |  | 65240 | 8243 |  | 9678 | 1280 |  | 21.3 |
| 10 | 18:11:30 |  | 65490 | 18:21:17 |  | 66077 | 4744 |  | 5646 | 587 |  | 9.8 |

Table listing the predominant particle habit types as determined by visual assessment of corresponding Cloud Particle Imager (CPI) images for all cases examined during the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight during the search for ice crystals with vertical orientation or a preferred angle.

| ID | Particle Habit(s) Observed | Pitch Changes | Roll Angle Changes |
| --- | --- | --- | --- |
| 1 | Plates | no | yes |
| 2 | Columns | no | yes |
| 3 | Plates, Plate Aggregates, Plates Fragments | no | yes |
| 4 | Needles, Columns, Prisms | no | yes |
| 5 | Column Aggregates | not examined | not examined |
| 6 | Columns, Needle Aggregates | not examined | not examined |
| 7 | Plates, Sectored Plates, Plate Aggregates | not examined | not examined |
| 8 | Plates, Prisms | not examined | not examined |
| 9 | Plates Aggregates, Columns, Prisms, Plates | not examined | not examined |
| 10 | Rimed Plate Aggregates. Rimed Columns, Plate Aggregates, Columns, Prisms | not examined | not examined |

Maps showing the NASA P-3 starting and ending point locations and flight track (red) of each selected case during the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight with the NEXRAD Reflectivity Mosaic displayed. The GPS Altitude (m) of the NASA P-3 is given for each starting and ending point, and the Total Air Temperature (C) is also given for the starting and ending times (UTC) of each case.

While the NASA P-3 flew in a clockwise racetrack pattern at varying altitudes; Cases #1, 4 through 8, and 10 were sampled during periods of a relatively constant altitude, whereas Cases #2, 3, and 9 involved a mid-case altitude change that typically occurred at the completion of a racetrack lap. Due to the flight path of the NASA P-3 maintaining a clockwise circuit, there were six cases that included a banking right maneuver with roll angles of approximately 20°, but no banking left maneuvers were identified during the cases other than slight adjustments with roll angles of less than 5°. Some cases (Table 4) include aircraft maneuvers that resulted in a significant pitch angle change ( ≥ ± 5°) or roll angle change ( ≥ ± 5°) that occur over 30 to 60 seconds; aircraft maneuvering occurrences during Cases #5-10 were not investigated due to Cases #1-4 providing sufficient examples. Although altitude changes were documented during the cases, there were no significant changes to the NASA P-3 pitch angle because the traditional method of changing an aircraft’s altitude relies primarily on modifying the amount of thrust. A comparison of the ice crystal orientation angles during periods of what can be considered “straight and level” flight versus during a change in roll angle or altitude are given in the results and are useful in identifying the integrity of ice crystal preferred orientation angles. The case selection methodology provided a total of ten cases selected from the February 7, 2020 science flight (Table 3), and while the 2D-S data is the basis for the selection of cases, the CPI was initially employed to identify the particle habits most representative of each case (Table 4).

Interestingly, aside from the end point of Case #9, the highest average altitude and coldest average ambient temperatures of all the cases is Case #10, which is the only case where ice crystals coated with rime icing was one of the predominant types observed. The case with the lowest altitude and warmest temperatures was Case #4, and the predominant ice crystal habits observed were needles, columns, and prisms, which were all outside of their typical growth region in terms of temperature, indicating precipitation of these crystals was likely in progress at the time of sampling. To clarify, the examinations of the types of crystals sampled during this study identified both columns and hollow columns observed throughout the dataset, but no further distinction was made, and thus any references to columns may indicate either subtype.

Plots showing the NASA P-3 True Heading (dark green), Pitch Angle (gray), Roll Angle (medium green), GPS Altitude (light blue), Total Air Temperature (dark blue), and Dew Point Temperature (light green) data for selected cases of the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) science flights.

Much of the 2D-S Image Data collected during the February 7, 2020 IMPACTS flight appear to show a similarity in the orientation angles of low aspect ratio particles, such as plate crystals, columns, or needles. Figure 23 shows one such example of 2D-S Image Data that has a large number of what appear to be columnar ice crystals, and these were confirmed to be columns by comparing the 2D-S images with images from the CPI. Concerning the example shown in Figure 23, the similarities in orientation angle are most pronounced in the vertical channel and seem to favor a positive orientation angle of between zero and 45 degrees, which are examined more in depth in the results. In other cases, low aspect ratio particles that appeared to be columns or needles ended up being plate crystals viewed from the side, which underscores the importance of verifying the crystal type through photographic means.

This figure represents one example of the Two-Dimensional Stereo Optical Array Probe (2D-S) image data collected during the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight. The horizontal (vertical) channel is shown on the left (right). The images depicted in blue are the silhouettes of particles sampled by the 2D-S and magnified so that each pixel is equivalent to a width of 10 µm. Each strip of data is a time-series record of the shape, size, orientation, and inter-particle timestamp of sampling occurrence in succession, with a new strip beginning upon the 2D-S reaching its data buffer limit. The beginning timestamp of the buffer is labeled along the lefthand side of each strip in seconds from midnight (sfm). In both channels, the upper left corner of each strip is the origin of the aircraft coordinate system with the positive X-direction pointing down along the short end of the data strip and the positive Y-direction pointing to the right along the long end of the data strip, where the positive X-direction represents the direction of flight, and the positive Y-direction extends away from the aircraft fuselage and toward the right wing tip due to the 2D-S being mounted underneath the right wing.

A significant challenge in acquiring a quantitative assessment of the electric field to see if there was any link between electric charging and occurrences of particle orientation was primarily in maintaining real-time congruity between the flight patterns implemented during the science flights of the NASA P-3 and NASA ER-2 research aircraft, and the varying geographical disparities and altitude differences between the two aircraft were calculated for all ten cases. Table 5 shows only the first four cases because by 16:16:00 UTC, the NASA ER-2 research aircraft had completed its final racetrack pattern for the February 7, 2020 science flight and initiated its departure from the sampling region. The increasing distance between the NASA ER-2 and NASA P-3 rendered the LIP data unremarkable for Cases #3-10. The NASA P-3 remained in the region to complete a few additional racetrack patterns after the departure of the NASA ER-2, and it is from the solo NASA P-3 period that Cases #5-10 were selected.

Table showing the geographical positions and relative distance of the NASA P-3 and NASA ER-2 research aircrafts during selected cases (ID) of the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) science flights. A factor of 111 km/deg was used to convert latitude (Lat.) and longitude (Long.) positions to distances in km. The ER-2 began to depart after Case #4 and was not available during later cases. The geographical (Geograph.) difference is calculated independently of the altitude (Alt.) difference.

| ID | Time Segments |  |  | P-3 Position |  |  | ER-2 Position |  |  | Distance |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Lat. | Long. | Alt. | Lat. | Long. | Alt. | Geograph. | Alt. |
|  |  | [UTC] | [sfm] | [deg] | [deg] | [km] | [deg] | [deg] | [km] | [km] | [km] |
| 1 | Start | 14:57:00 | 53820 | 42.39 | -75.82 | 5.19 | 42.87 | -75.03 | 19.73 | 102.09 | 14.54 |
|  | End | 15:19:59 | 55199 | 43.12 | -74.06 | 5.20 | 43.07 | -74.10 | 19.67 | 6.58 | 14.47 |
| 2 | Start | 15:23:40 | 55420 | 43.03 | -73.71 | 4.96 | 43.05 | -73.45 | 19.54 | 29.17 | 14.59 |
|  | End | 15:30:40 | 55840 | 42.85 | -74.25 | 3.64 | 42.83 | -73.78 | 19.76 | 52.59 | 16.11 |
| 3 | Start | 15:48:00 | 56880 | 42.88 | -76.22 | 3.61 | 42.91 | -76.31 | 19.80 | 10.54 | 16.19 |
|  | End | 15:55:50 | 57350 | 43.14 | -75.89 | 3.30 | 43.14 | -76.31 | 19.74 | 46.68 | 16.44 |
| 4 | Start | 16:09:40 | 58180 | 43.12 | -74.22 | 3.33 | 43.07 | -74.00 | 19.83 | 25.34 | 16.51 |
|  | End | 16:15:40 | 58540 | 42.95 | -73.75 | 3.02 | 42.85 | -73.23 | 19.78 | 58.65 | 16.76 |

At the beginning of Case #1, the NASA P-3 was just arriving into the sampling region and was able to promptly rendezvous with the NASA ER-2, as demonstrated by the close geographical proximity at the endpoint of Case #1. The LIP data shows a weak, cyclic oscillation of the vector components of the cloud top magnetic field during Case #1 (Figure 24), when the NASA ER-2 was completing the western end of a racetrack lap and banking right to begin an eastward heading. The endpoint of Case #1 is of interest because it signifies a time when both the NASA P-3 and NASA ER-2 aircraft are located in the vicinity of a high-reflectivity snow band with radar returns near 50 dBZ, and the LIP does show a peak in all three vector components. One of the better cases in which LIP data was available during the February 7, 2020 IMPACTS science flight was Case 2, which also featured some of the highest electric field magnitudes measured during the flight. The peak electric field magnitudes during Case #2 ranged from 10 to 40 V/m. While this was not enough to trigger any observable lightning discharges, it is considered moderate for a winter storm, where fields of 10 to 100 V/m are typical. In comparison, it is widely known that summer thunderstorms often exhibit electric fields that are 1 to 2 orders of magnitude higher.

These plots show Lightning Instrument Package (LIP) V2 data from selected cases that were collected during the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) science flight. Each vector component of the cloud top electric field is plotted in Earth coordinates, with En representing the cardinal north direction, Ew positive toward the cardinal west direction, and Eu representing the upward component. Data is smoothed to remove erroneous data points.

Due to the limited availability of LIP data for Cases #3-10, the next best parameter to examine is the particle concentration data from three NASA P-3 platform-based sources, including the 2D-S Horizontal Channel, the 2D-S Vertical Channel, and the CDP. When utilizing concentration measurements, it is important to understand that particle shattering is a constant challenge that in situ airborne measurements strive to overcome and is mitigated well on the 2D-S due to the anti-shatter tips on the leading edge of the probe arms. Segments in which the NASA P-3 encountered thin plate crystals or dendrites resulted in an increased amount of shattered particles. During high occurrences of particle shattering, the concentration measurement artificially hit higher peaks unrepresentative of the ambient concentration parameter, and this was uncovered through the examination of CPI and PHIPS image data. Recall that the CDP instrument is restricted to a range of 2 to 50-µm diameter particles, and the 2D-S dataset was subset with a lower diameter bound of 100 µm. Despite the differing focus in particle sizes, similarities appear in the plots (Figure 25) in terms of the timing of peaks and lulls in the particle concentration. Therefore, a qualitative assessment can be made to identify periods of relatively higher particle concentration versus relatively lower particle concentration within each case for further examination in the results. Distinctive periods of high or low particle concentration could not be identified for all cases to due noise in the data for unknown reasons; therefore, Case #3, 7, and 9 will be omitted from that portion of the analysis.

Plots depict particle concentration measurements made by the Two-Dimensional Stereo Optical Array Probe (2D-S) horizontal (2D-S_H Conc) and vertical channels (2D-S_V Conc) and the Cloud Droplet Probe (CDP) concentration (CDP Conc) during the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight selected cases. The plots each include a segmented line below the x-axis, which indicates distinctive periods identified as relatively “low” (dotted yellow bar) or “high” (pink hatched bar) concentration periods within the case.

In addition to the results provided for each case in the following section, a more detailed examination to compare specific sub-cases of interest are also provided. Subcases compare periods of relatively high versus relatively low periods of particle concentration, segments of straight and level flight versus aircraft maneuvering, and variations in subset aspect ratio parameters. Further suggestions regarding how the cases can be compared or approached are discussed in the future work portion of the conclusion.

RESULTS

Once the subset parameters were adjusted as described in the methodology section, the datasets examined for each of the ten cases was intended to reveal the similar orientation angles of the low aspect ratio particles that stand out in the 2D-S Image Data. Grouping the dataset particles by orientation angles depicted in a histogram format would reveal a Gaussian-like curve if a preferred orientation angle exists and an evenly distributed range of orientation angles if the particles are randomly oriented. Preliminary results revealed high occurrences of orientation angles near ± 90.0 degrees and near 0.0 degrees, but this was inconsistent with the majority of interesting ice crystals that appeared to present similar orientation angles in the 2D-S Image Data. Recall, particles that amounted to single, double, and even triple pixel images were particularly problematic and frequent, which drastically skewed the results. Applying a minimum diameter of 100 µm and an area ratio of at least 0.1 was useful in eliminating most of those contaminations without too much loss of the particles of interest from the subset. Additionally, the subset criteria also specified an aspect ratio range of 0.0 to 0.6 in order to focus on the shapes of particles that would emphasize particle orientation.

Furthermore, consideration was given to the depiction of a -90 to +90 degree range of orientation angles for the number (N) of particles in the average case subset, so as to most usefully represent the Gaussian-curve desired and maintain a similar standard across all cases for ease of comparison. To select the number of bins for the histograms, the following equation was used, according to a recommended approach by Wilks (1992).

| h≅c IQRn13 | (3) |
| --- | --- |

The equation solves for h, which is the binwidth, using the interquartile range (IQR) and n, the number of data points in the sample. The IQR is multiplied by a constant, c, which can be adjusted depending on the statistical nature of the data. A value of c = 2.6 is common for Gaussian data, whereas multimodal data may find a lower value, such as c = 2.0, more useful. Due to the multimodal nature of a histogram of the Orientation Angle parameter across an X-axis of all possible angels between -90.0 and 90.0, a value of c = 2.0 was used. The IQR was based on a spread between a minimum of 0% and a maximum of 100%, which gives an IQR = 50. The values for n varied in each case, and for the sake for comparison between various cases, an average value of n = 5500 was used due to exact vales of n ranging between orders of n = 102 and n = 105. A value of h = 5.7 was the result, which was rounded to a binwidth of 6°. Over the spread of 180 possible Orientation Angles, a 6° binwidth resulted in using 30 bins for each histogram. A 5° binwidth was also explored due to a base 10 being easier for consumption, but did not work for all subcases due to small samples and a need for consistent axes bounds for comparison purposes.

The histograms show orientation angle occurrences by percentage for all selected cases during the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight. The Two-Dimensional Stereo Optical Array Probe (2D-S) horizontal channel is displayed on the left and the vertical channel is displayed on the right. The corresponding time segments and predominant particle habit types are listed for each case in Table 3.

Notice that the 2D-S horizontal channel observed smaller peaks in orientation angle as well as some quasi-random distributions, as in Cases #5, 6, and somewhat with Case #7. The vertical 2D-S channel conversely shows regular consistency with an orientation angle peak in the positive orientation angles. In an effort to further isolate the low aspect ratio particles, the subset was temporarily adjusted to compare between two ranges of accepted aspect ratios, and this was determined through a detailed analysis of 2D-S Image Data from Case #4 in which a particularly good example of similarly oriented ice crystals shared an aspect ratio of predominantly 0.2 to 0.3.

(b)

(a)

Histograms show orientation angle occurrences by percentage for Case #4, which was during the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight at 16:09:40 to 16:15:40 UTC, further subset with an aspect ratio of (a) 0.1 to 0.4, and (b) 0.2 to 0.3. The Two-Dimensional Stereo Optical Array Probe (2D-S)  horizontal channel is displayed on the left and the vertical channel is displayed on the right.

The difference in histograms between Figure 26 and Figure 27 indicates that there is a higher occurrence of a preferred orientation angle when focusing in on a narrower range of aspect ratios, which was examined particularly in Case #4 due to the presence of columns and needles during Case #4 with needles being represented by the smaller aspect ratio range. For an additional analysis of Case #4, the data was then subset by orientation angle to examine the peak in both horizontal and vertical channel histograms. The subset of orientation angles were then graphed according to particle diameter to check for any correlation of orientation angles with particle size, and an intriguing pattern emerged, especially in the horizontal channel (Figure 28). The reason for the patterning is due to the limitations of the 2D-S in converting analogue angles to digital data, with a finite number of possible particle angles to record in the data.

These plots show the particle orientation angles (x-axis) by diameter (y-axis) of the preferred angle peaks of all particles sampled by the Two-Dimensional Stereo Optical Array Probe (2D-S) horizontal channel (left) and the vertical channel (right) during Case #4, which was during the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight at 16:09:40 to 16:15:40 UTC, further subset with an aspect ratio of 0.1 to 0.4. The preferred angle peaks were observed in the histograms (Figure 27 -), with a range of 0.0-9.0° for horizontal and 9.0-18.0° for vertical.

A comparative analysis of ice crystal orientation angles was conducted using data from the Two-Dimensional Stereo Optical Array Probe (2D-S), specifically examining the horizontal (top) and vertical (bottom) channels during the February 7, 2020, Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight. This comparison focused on distinct intervals of high and low particle concentration to determine if orientation angle distributions varied with concentration. Generally, no significant differences were observed between high and low concentration segments, except in Cases #4 and #6.

In Case #6, which primarily included columnar and needle aggregates, the horizontal channel showed a more random distribution of orientation angles during periods of low concentration. In contrast, during periods of high concentration, the horizontal distribution became increasingly asymmetrical. Unexpectedly, in the vertical channel, a pronounced orientation peak appeared around +20° during low concentration intervals. While the peak orientation remained near this angle during high concentration, the intensity of the peak was markedly reduced, contradicting the initial hypothesis that orientation would remain stable regardless of concentration.

Case #4 exhibited a somewhat different behavior. In the horizontal channel, orientation percentages at peak angles were similar between high and low concentration periods; however, there was an approximate shift of 30-40° from a peak near -36° in the low concentration period to a bimodal distribution centered around 0° in high concentration periods, with the highest orientation percentages near ±18°. The vertical channel showed stronger orientation peaks during low concentration periods, with a preferred orientation angle that persisted even when concentration increased, paralleling the results observed in Case #6.

Overall, these findings suggest that ice crystal orientation may be sensitive to concentration changes in specific cases, particularly within the vertical channel. The stable preferred orientation angles observed across varying concentrations indicate that environmental factors may influence particle orientation differently in high versus low concentration regimes, with potential implications for interpreting particle alignment mechanisms under changing atmospheric conditions.

Histograms depict a comparison of orientation angles observed by the Two-Dimensional Stereo Optical Array Probe (2D-S) horizontal channel (top) and the vertical channel (bottom) during the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight within distinct periods of high and low concentration. This example comes from periods identified within Case #6.

Histograms depict a comparison of orientation angles observed by the Two-Dimensional Stereo Optical Array Probe (2D-S) horizontal channel (top) and the vertical channel (bottom) during the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight within distinct periods of high and low concentration. This example comes from periods identified within Case #4.

Histograms depict a comparison of orientation angles observed by the Two-Dimensional Stereo Optical Array Probe (2D-S) horizontal channel (left) and the vertical channel (right) during the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight within distinct periods of high and low concentration. These examples come from Cases #1, 2, 5, 8, and 10.

The final investigation involved a comparison of orientation angles observed during periods of straight and level flight versus aircraft maneuvers other than straight and level, and the data was selected form within the existing ten cases and using the same subset criteria of diameters greater than 100 µm, aspect ratios up to 0.6, area ratios of at least 0.1. Had the preferred angles of ice crystal orientation resulted in a shift commensurate with a roll angle of approximately 20°, it would aid in the validation of the data collection methods. However, the results shown in Figure 32 reveal an almost identical set of histograms regardless of the roll angle variations of the NASA P-3 aircraft. The only noticeable difference in orientation angles appears to be during Case #2 during a period of descent, but not during any roll or banking maneuvers. There was no discernable difference in true airspeed or pitch angle during the descent case, which raises more questions as to the causation of a more random distribution among the orientation angles in the 2D-S horizontal channel; one hypothesis is that the alteration in thrust to cause the NASA P-3 aircraft to descend temporarily changed the airflow in the vicinity of the wing, where the 2D-S is mounted.

The histograms show orientation angle occurrences by percentage for selected cases during the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight in which there were distinct periods of straight and level flight that could be compared to a maneuver other than straight and level flight. The Two-Dimensional Stereo Optical Array Probe (2D-S) horizontal channel is displayed on the left and the vertical channel is displayed on the right.

DISCUSSION

In examining a subset of low aspect ratio ice crystals, it was observed that these crystals consistently exhibited a preferred orientation angle throughout the flight whenever they were present. This uniformity in orientation suggests that various factors typically associated with particle alignment may not be driving the observed orientation in this case. Factors typically hypothesized to influence ice crystal orientation include turbulent air motion, vertical air currents (both updrafts and downdrafts), gravity waves, and electric fields. During the NASA P-3 aircraft's flight, data were collected at multiple altitudes, across varying ambient temperatures, and under fluctuating relative humidity levels. The aircraft frequently encountered supercooled liquid water droplets, which often indicate upward vertical motion within generating cells—a phenomenon frequently linked to turbulence and possible electric field variations. Additionally, the aircraft's geographic position, synoptic setting, and flight attitude varied throughout the mission. Given these dynamic conditions, variations in ice crystal orientation might reasonably be anticipated. However, despite these fluctuations, the orientation angle of the crystals remained consistent, with no instances of random orientation or null cases. This persistent alignment runs counter to expectations of in situ particle behavior, particularly if crystals were freely orienting according to local environmental forces.

This lack of variability raises significant questions regarding the forces influencing particle orientation. Typically, vertical orientation in particles is interpreted as a byproduct of electric field alignment in stormy conditions; however, such interpretations appear insufficient here. The absence of any random orientation cases strongly suggests that an overriding and dominant orienting force is influencing the particles within the sampling environment. Given that orientation consistency was observed regardless of external factors like altitude, temperature, humidity, or supercooled liquid water presence, it is reasonable to conclude that this force may be related to the aerodynamic environment created by the NASA P-3 aircraft itself. As the ice crystals enter the sampling volume of the 2D-S instrument, it appears that the airflow dynamics, influenced by the presence of the aircraft's airfoils and attached instrumentation, may be overriding in situ orientation cues, effectively reorienting the particles along the streamlines induced by the aircraft. Consequently, this consistency in orientation angle across diverse environmental conditions suggests that the aircraft's induced airflow dynamics are the primary influence on particle alignment within the sampling volume. Therefore, interpretations of natural orientation behavior based on these data should consider the potential influence of the aircraft's induced airflow, as it may not represent undisturbed, in situ particle orientations in the free atmosphere.

CONCLUSIONS

This study aimed to address three central questions related to the orientation, environmental influences, and concentration patterns of ice crystals in winter storms, specifically within the context of in situ airborne measurements. Through the systematic examination of observational data collected during the February 7, 2020 IMPACTS flight, key insights emerged concerning the orientation patterns of ice crystals and their relationships with meteorological phenomena such as electric field anomalies and particle concentrations. While the results did not fully support all hypotheses, the findings contribute to a deeper understanding of ice crystal orientation behavior and provide valuable guidance for future studies in atmospheric ice microphysics.

The first question explored whether vertically oriented ice crystals could be distinctly observed using airborne in situ instruments. The study found that low-aspect-ratio crystals, including columns and needles, exhibited a preferred orientation angle, which was consistently observed across several periods of data collection. This alignment, however, does not necessarily meet the strict criteria for "vertical orientation." Rather, the observed orientation may reflect alignment with streamflow patterns, suggesting that this alignment is a typical occurrence for similarly shaped ice crystals observed by onboard optical array probes.

These findings indicate that while preferred alignment was consistently observed, it likely represents the natural alignment tendencies of low-aspect-ratio crystals within airflow rather than a specific, vertically oriented phenomenon. The nuanced conclusion here underscores the importance of contextual factors—particularly the role of streamflow in influencing crystal orientation—and highlights the need for a clear definition of "vertical orientation" in future studies of crystal alignment. Understanding whether this alignment represents a fundamental physical behavior or a response to ambient conditions is critical for interpreting such observational data accurately.

The second question addressed the potential relationship between the observed alignment of ice crystals and cloud top electric field anomalies. Given that the study established a consistent, preferred orientation among low-aspect-ratio crystals, the initial relevance of this question diminishes, as no randomized cases (or "null" cases) of orientation were identified. Without instances where crystal orientations varied independently of environmental conditions, it becomes challenging to determine if cloud top electric field anomalies exert any influence on crystal alignment.

Although limited periods of electric field anomalies were detected, no distinct relationship emerged between these anomalies and variations in crystal orientation. In all instances of observed low-aspect-ratio crystals, their orientation patterns remained consistent, regardless of the presence or absence of electric field anomalies. Thus, the results suggest that, within the parameters of this study, cloud top electric field anomalies are unlikely to have a detectable influence on ice crystal orientation. This conclusion reinforces the importance of obtaining varied orientation cases for assessing potential relationships with environmental anomalies, emphasizing that further investigation with a more comprehensive dataset would be required to draw definitive conclusions about any subtle interactions between electric fields and ice crystal orientation.

The final question investigated whether there was any correlation between the occurrences of vertically oriented ice crystals and regions of high particle concentration. Initial data indicated periods of relatively high particle concentration, which, if linked to vertically oriented crystals, could suggest a dynamic interaction between orientation and particle density within winter storm environments. However, further analysis revealed that these concentration peaks were primarily the result of particle shattering—a known issue in airborne ice measurements—rather than an actual increase in ambient particle concentration.

This finding clarifies that no inherent relationship exists between the orientation of ice crystals and particle concentration, as the observed concentration spikes were artificial artifacts caused by shattering effects rather than genuine environmental conditions. This insight is particularly important for future studies and observational campaigns, as it highlights the need for methodological adjustments to minimize the impact of particle shattering and improve the accuracy of concentration data in studies of ice crystal orientation.

In conclusion, this study provides essential insights into the orientation behavior of ice crystals in winter storm environments and clarifies several previously hypothesized relationships. The consistent preferred orientation of low-aspect-ratio ice crystals likely reflects alignment with streamflow, rather than a vertical orientation per se. Additionally, no detectable relationship was found between crystal orientation and cloud top electric field anomalies, and apparent connections with high particle concentrations were attributed to particle shattering artifacts.

The results of this study emphasize the complexity of accurately characterizing ice crystal behavior in winter storms and underscore the necessity of refining measurement techniques to reduce the influence of data artifacts. Future research would benefit from more extensive datasets, particularly those with diverse orientation cases, to explore potential environmental influences on ice crystal alignment more comprehensively. Such studies could also investigate advanced in situ techniques or combine airborne with ground-based observations to capture a broader range of meteorological contexts. Overall, this work advances our understanding of ice crystal orientation patterns in winter storms and establishes a foundation for more detailed investigations into the complex interplay between ice microphysics and storm dynamics.

The primary limitation in addressing the original science questions lay in the inherent challenges of in situ data collection, particularly when attempting to sample fragile ice crystals or mixed-phase clouds via aircraft without altering their natural state. The current measurement techniques disturb the sampled air volume, affecting air temperature, flow, and electrostatic charge before it reaches the instrumentation—a critical factor when studying ice crystal orientation. Achieving in situ sampling with minimal interference to these sensitive parameters would be transformative for ice microphysics research.

To bridge this gap, future advancements will likely focus on enhancing remote sensing capabilities, controlled laboratory studies, and computer modeling to accurately parameterize ice crystal orientation without relying solely on direct sampling. Additionally, any future in situ campaigns must prioritize a thorough analysis of airflow, incorporating configurations for a fully equipped aircraft (including pylons, booms, and other mounted instruments) to better anticipate disturbances. Quantifying aircraft-induced static charge is also essential, as variations in electrostatic conditions may significantly impact microphysical measurements. Direct charge quantification, possibly through a mounted LIP or a similar instrument, will enable a more reliable interpretation of in situ ice crystal data, bringing greater precision to the study of ice orientation in winter storms. Through these combined efforts, future campaigns may more accurately observe and model ice crystal behavior, moving closer to answering the complex questions at the heart of this research.

REFERENCES

Burrows, D. A., and J. L. Stith. “Alignment of Free Crystals Due to Transient Electric Fields.” Journal of Atmospheric and Oceanic Technology 3, no. 2 (June 1, 1986): 265–72. https://doi.org/10.1175/1520-0426(1986)003<0265:AOFCDT>2.0.CO;2.

Delene, D. J., 2011: Airborne Data Processing and Analysis Software Package, Earth Science Informatics, 4(1), 29-44, http://dx.doi.org/10.1007/s12145-010-0061-4, DOI:  10.1007/s12145-010-0061-4.

Foster, T. C., and J. Hallett. “Enhanced Alignment of Plate Ice Crystals in a Non-Uniform Electric Field.” Atmospheric Research 90, no. 1 (October 1, 2008): 41–53. https://doi.org/10.1016/j.atmosres.2008.02.017.

Foster, T. C., and J. Hallett. “The Alignment of Ice Crystals in Changing Electric Fields.” Atmospheric Research 62, no. 1 (May 1, 2002): 149–69. https://doi.org/10.1016/S0169-8095(02)00008-X.

Hogan, R. J., L. Tian, P. R. A. Brown, C. D. Westbrook, A. J. Heymsfield, and J. D. Eastment, 2012: Radar Scattering from Ice Aggregates Using the Horizontally Aligned Oblate Spheroid Approximation. https://doi.org/10.1175/JAMC-D-11-074.1.

Jiang, Z., J. Verlinde, E. E. Clothiaux, K. Aydin, and C. Schmitt, 2019: Shapes and Fall Orientations of Ice Particle Aggregates. Journal of the Atmospheric Sciences, 76, 1903–1916, https://doi.org/10.1175/JAS-D-18-0251.1.

King, W. D., 1986: Air Flow and Particle Trajectories around Aircraft Fuselages. IV: Orientation of Ice Crystals.

Kubicki, Marek, Anna Odzimek, and Mariusz Neska. “Relationship of Ground-Level Aerosol Concentration and Atmospheric Electric Field at Three Observation Sites in the Arctic, Antarctic and Europe.” Atmospheric Research 178–179 (September 1, 2016): 329–46. https://doi.org/10.1016/j.atmosres.2016.03.029.

Mach, Douglas M., Monte Bateman and Christopher Schultz.2022. Lightning Instrument Package (LIP) IMPACTS [February 7, 2020 Science Flight, V2]. Dataset available online from the NASA Global Hydrometeorology Resource Center DAAC, Huntsville, Alabama, U.S.A. DOI: http://dx.doi.org/10.5067/IMPACTS/LIP/DATA101

MacPherson, J. I., and D. Baumgardner. “Airflow about King Air Wingtip-Mounted Cloud Particle Measurement Probes.” Journal of Atmospheric and Oceanic Technology 5, no. 2 (April 1, 1988): 259–73. https://doi.org/10.1175/1520-0426(1988)005<0259:AAKAWM>2.0.CO;2.

Magono, Choji, and Tsutomu Nakamura. “Aerodynamic Studies of Falling Snowflakes.” Journal of the Meteorological Society of Japan. Ser. II 43, no. 3 (1965): 139–47. https://doi.org/10.2151/jmsj1965.43.3_139.

McMurdie, L.A., Heymsfield, G., Yorks, J.E., and Braun, S.A. 2019. Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) Collection [Full February 7, 2020 Dataset]. Data available online [http://ghrc.nsstc.nasa.gov/] from the NASA EOSDIS Global Hydrology Resource Center Distributed Active Archive Center, Huntsville, Alabama, U.S.A. doi: http://dx.doi.org/10.5067/IMPACTS/DATA101.

O’Brien, JR. “Sensitivity of Two-Dimensional Stereo (2DS) Probe Derived Parameters to Particle Orientation.” Accessed September 14, 2022. https://www.proquest.com/openview/70b4ce484f793eb78a63c1b474f4962e/1?pq-origsite=gscholar&cbl=18750.

Ryzhkov, Alexander V., and Dusan S. Zrnić. “Depolarization in Ice Crystals and Its Effect on Radar Polarimetric Measurements.” Journal of Atmospheric and Oceanic Technology 24, no. 7 (July 1, 2007): 1256–67. https://doi.org/10.1175/JTECH2034.1.

Schultz, C. J., and Coauthors, 2021: Remote Sensing of Electric Fields Observed Within Winter Precipitation During the 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) Field Campaign. Journal of Geophysical Research: Atmospheres, 126, e2021JD034704, https://doi.org/10.1029/2021JD034704.

Stratton Park Engineering Company, 2011: 2D-S Technical Manual Rev. 3.1. http://www.specinc.com/sites/default/files/software_and_manuals/2D-S_Technical%20Manual_rev3.1_20110228.pdf (Accessed October 21, 2023).

Thomas, L., J. C. Cartwright, and D. P. Wareing, 1990: Lidar observations of the horizontal orientation of ice crystals in cirrus clouds. Tellus B, 42, 211–216, https://doi.org/10.1034/j.1600-0889.1990.00001.x-i1.

Weinheimer, A. J., and A. A. Few, 1987: The electric field alignment of ice particles in thunderstorms. Journal of Geophysical Research: Atmospheres, 92, 14833–14844, https://doi.org/10.1029/JD092iD12p14833.

data and software availability

All IMPACTS field campaign data used in this study is publically available on NASA’s Earth Observing System Data and Information System (EOSDIS) Global Hydrometeorology Resource Center (GHRC) Distributed Active Archive Center (DAAC) website at https://ghrc.nsstc.nasa.gov/home/field-campaigns/impacts. The ADPAA software used for data processing is freely available for download using the Github package called Community Packages for Airborne Science (CoPAS). The SODA-2 software requires the Interactive Data Language (IDL) software package and is freely available from the SODA-2 repository at https://github.com/abansemer/soda2.

Appendix A

  - Two-Dimensional Stereo Optical Array Probe (2D-S) Installation Configuration

There are many possibilities for how the Two-Dimensional Stereo Optical Array Probe (2D-S) can be installed on an aircraft. The 2D-S probe is housed in a Particle Measuring Systems (PMS) canister receptacle, which has two orthogonal pin connectors conveniently located on the inside of the back of the canister (Figure 33). Either of these interior PMS canister pin connectors can be used interchangeably to connect to the back of the 2D-S probe (Figure 34).

Figure shows that the interior of a Particle Measuring Systems (PMS) canister includes two possible configurations for connecting the pin connecter on the Two-Dimensional Stereo Optical Array Probe (2D-S) to the pin connector on the PMS canister. Configuration A is a connection to the vertical pin connecter, while Configuration B is a connection to the horizontal pin connector. While this provides for flexibility in how the 2D-S probe is installed, it can result in ambiguity as to the orientation of the horizontal and vertical sampling arms. The correct configuration is Configuration A, because it will result in the 2D-S Horizontal Transmitter and Horizontal Receiver arms being parallel with the ground.

Figure illustrates a simplified view of the back of a Two-Dimensional Stereo Optical Array Probe (2D-S), where a pin connector is located. The pin connector provides the necessary connection to the Particle Measuring Systems (PMS) canister probe housing during installation. The PMS canister is then connected to the aircraft wiring, and this is the means by which the 2D-S probe receives power and transmits data during flight. There is only one pin connector on the back of the 2D-S probe, but there are two ways it can be oriented in order to connect with the PMS canister pin connector.

The PMS canister may be mounted on any inboard side of the starboard wing pylons or on any outboard side of the port wing pylons. The 2D-S probe should be connected in such a way that orients the horizontal probe arms with the respective laser beam parallel to the ground. The installation orientation is critical because the data stream from the 2D-S probe will label the two sampling channels by assigning a label of “H” for horizontal or “V” for vertical. However, these labels are arbitrary and may be misleading if the 2D-S probe is not installed with the correct configuration.

When the 2D-S PMS canister is mounted on the inboard side of the outer pylon on the starboard wing, such as was the case during IMPACTS 2020, 2022, and 2023, the correct configuration is Configuration A, or the vertical pin connector. During this study, a great deal of effort was applied to clarifying and confirming which way the 2D-S probe was installed, for each year of the campaign, long after the data collection campaign had ended. This appendix seeks to provide a useful recommendation to future campaigns that utilize the 2D-S probe or similar instrumentation.

A “best practice” approach to verifying the installation configuration of the 2D-S probe involves the addition of a simple test to the standard ground test procedures that normally accompany every aircraft installation. The recommended instructions are listed below and apply to a 2D-S probe which has been fully installed on an aircraft in terms of being physically connected via the PMS canister and has power applied and data connections fully functional.

  - Recommended 2D-S Installation Configuration Ground Test

Interrupt the vertical laser beam of the 2D-S near the transmitting arm (which should be the one on the bottom) by physically blocking the laser with a card or piece of paper, without interrupting the horizontal laser beam.

Make note the time.

Simulate particle encounters using a spray bottle for the uninterrupted horizontal laser beam to capture for about the span of one minute.

Repeat Steps 1-3 but for the orthogonal laser beam, making careful note of the time.

Document the procedure with the ground test notes, and consider making a summary of the results available within the metadata when the dataset is eventually published. This will be invaluably useful for anyone who may want to utilize 2D-S data later.

Since it is so easy for a technician to install the 2D-S probe in either orientation, be sure to complete this process every time the 2D-S probe is installed or re-installed.

Appendix B

System for OAP Data Analysis (SODA-2) Processing of Two-Dimensional Stereo Optical Array Probe (2D-S) Image Data

Further examples are included in this appendix.

(a)

(b)

(c)

(d)

(e)

(f)

(g)

(h)

(i)

(j)

(s)

(r)

(q)

(p)

(o)

(n)

(m)

(l)

(k)

(t)

Plot showing buffer of Two-Dimensional Stereo Optical Array Probe (2D-S) images from the February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight for the horizontal channel (a-j) and the vertical channel (k-t). Each subsequent buffer is positioned to the right of the preceding buffer to demonstrate cases where an ice crystal was sampled near the end of a data buffer and continued in the next buffer. The black triangle along the bottom of the strip denotes the transition point between buffers, and the timestamp (HHMMSS.ss format and UTC time) is labeled along the top of each image strip.

The particles shown in Figure 35 were compared to the associated attribute data in the particle-by-particle file (Table 6) for the February 7, 2020 flight. This analysis seemed to yield a mismatch between image and attribute data, which a careful examination revealed that a portion of each large diameter particle was being omitted from the particle-by-particle file in every instance when the larger particle was sampled near the end of a data buffer. As these larger particles were wrapped into the subsequent buffer, the trailing portion of the particle was recorded in the particle-by-particle file.

Two-Dimensional Stereo Optical Array Probe (2D-S) particle-by-particle attribute data for February 7, 2020 Investigation of Microphysics and Precipitation for Atlantic Coast-Threatening Snowstorms (IMPACTS) flight, which corresponds to the images shown in Figure 35. The time is given in a [HH:MM:SS] UTC format and a seconds-from-midnight (SSSSS.ss sfm) format. The three linear measurements given for each imaged particle include the particle diameter based on the fast circle method of processing, and an X and Y measurement, with X representing the dimension parallel to the array axis and Y representing the dimension parallel to the direction of flight. The “all in” flag is a 1 if the particle image is fully contained within the image strip and not in contact with array ends, and the flag is a 0 if the particle is only partially contained within the image strip. The inter-arrival time of each particle is shown in the last column as inter-particle time (IPT).

| Ex. | Time | ID | Time | Diam. | Area Ratio | Aspect Ratio | Angle | All In | X | Buffer Time | Y | IPT |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | [UTC] |  | [sfm] | [μm] |  |  | [deg] |  | [μm] | [sec] | [μm] | [sec] |
| a | 15:48:02 |  | 56882.6040 | 1950 | 0.30 | 0.37 | -81.7 | 0 | 590 | 56882.6040 | 1930 | 0.013274 |
|  |  |  | 56882.6040 | 10 | 1 | 1 | 0.0 | 1 | 10 | 56882.6040 | 10 | 0.002627 |
|  |  |  | 56882.6040 | 20 | 0.64 | 0.5 | 90.0 | 1 | 10 | 56882.6040 | 20 | 0 |
|  |  |  | 56882.6040 | 10 | 1 | 1 | 0.0 | 1 | 10 | 56882.6040 | 10 | 0 |
|  |  |  | 56882.6350 | 1445 | 0.44 | 0.85 | -39.3 | 0 | 1250 | 56882.6350 | 1010 | 0.000016 |
|  |  |  | 56882.6350 | 355 | 0.64 | 0.54 | 76.9 | 0 | 160 | 56882.6350 | 350 | 0.016164 |
|  |  |  | 56882.6350 | 187 | 0.23 | 0.37 | 73.6 | 0 | 60 | 56882.6350 | 180 | 0.000002 |
|  |  |  | 56882.6350 | 1059 | 0.51 | 0.67 | -40.9 | 0 | 910 | 56882.6350 | 760 | 0.000321 |
| b | 15:48:02 |  | 56882.9320 | 10 | 1 | 1 | 0.0 | 0 | 10 | 56882.9320 | 10 | 0 |
|  |  |  | 56882.9320 | 1585 | 0.43 | 0.58 | -83.2 | 0 | 870 | 56882.9320 | 1570 | 0.003077 |
|  |  |  | 56882.9320 | 500 | 0.26 | 0.41 | -88.8 | 0 | 200 | 56882.9320 | 500 | 0.000003 |
|  |  |  | 56882.9320 | 10 | 1 | 1 | 0.0 | 1 | 10 | 56882.9320 | 10 | 0.00047 |
|  |  |  | 56882.9480 | 1321 | 0.46 | 0.89 | -28.7 | 0 | 1180 | 56882.9480 | 920 | 0.000029 |
|  |  |  | 56882.9480 | 661 | 0.69 | 0.90 | -66.1 | 0 | 490 | 56882.9480 | 590 | 0.006159 |
|  |  |  | 56882.9480 | 1422 | 0.49 | 0.52 | -89.2 | 0 | 730 | 56882.9480 | 1350 | 0.000456 |
| c | 15:48:05 |  | 56885.1820 | 385 | 0.01 | 0.28 | -9.2 | 1 | 380 | 56885.1820 | 90 | 0.000001 |
|  |  |  | 56885.1820 | 152 | 0.22 | 0.51 | 39.3 | 1 | 120 | 56885.1820 | 130 | 0.000013 |
|  |  |  | 56885.1820 | 83 | 0.33 | 0.44 | -74.1 | 1 | 40 | 56885.1820 | 80 | 0.000001 |
|  |  |  | 56885.1820 | 55 | 0.51 | 0.67 | -63.4 | 1 | 30 | 56885.1820 | 50 | 0 |
|  |  |  | 56885.1820 | 20 | 0.64 | 0.50 | 90.0 | 1 | 10 | 56885.1820 | 20 | 0.000001 |
|  |  |  | 56885.1820 | 40 | 0.48 | 0.50 | 90.0 | 1 | 20 | 56885.1820 | 40 | 0.000039 |
|  |  |  | 56885.1820 | 153 | 0.07 | 0.45 | -24.8 | 1 | 140 | 56885.1820 | 70 | 0.000001 |
|  |  |  | 56885.1980 | 543 | 0.06 | 0.21 | -6.5 | 1 | 540 | 56885.1980 | 100 | 0.001709 |
|  |  |  | 56885.1980 | 1353 | 0.47 | 0.71 | 83.9 | 0 | 940 | 56885.1980 | 1270 | 0.003614 |
|  |  |  | 56885.1980 | 973 | 0.39 | 0.46 | 82.6 | 0 | 410 | 56885.1980 | 960 | 0.006415 |
| d | 15:48:14 |  | 56895.5410 | 2765 | 0.70 | 0.51 | -84.0 | 0 | 1280 | 56895.5410 | 2750 | 0.000017 |
|  |  |  | 56895.5410 | 20 | 0.64 | 0.50 | 90.0 | 1 | 10 | 56895.5410 | 20 | 0.006257 |
|  |  |  | 56895.5410 | 501 | 0.39 | 0.92 | 20.2 | 0 | 400 | 56895.5410 | 440 | 0.000003 |
|  |  |  | 56895.5410 | 735 | 0.38 | 0.51 | -74.8 | 0 | 270 | 56895.5410 | 710 | 0.000005 |
|  |  |  | 56895.5410 | 24 | 0.44 | 0.41 | -45.0 | 1 | 20 | 56895.5410 | 20 | 0.000001 |
|  |  |  | 56895.5410 | 46 | 0.41 | 0.46 | -33.7 | 0 | 40 | 56895.5410 | 30 | 0 |
|  |  |  | 56895.5880 | 680 | 0.02 | 0.12 | 0.0 | 1 | 680 | 56895.5880 | 80 | 0.016209 |
|  |  |  | 56895.5880 | 10 | 1 | 1 | 0.0 | 1 | 10 | 56895.5880 | 10 | 0 |
|  |  |  | 56895.5880 | 51 | 0.39 | 0.48 | 14.0 | 1 | 50 | 56895.5880 | 20 | 0 |
| e | 15:48:16 |  | 56896.7290 | 1619 | 0.39 | 0.60 | -55.1 | 0 | 940 | 56896.7290 | 1380 | 0.006369 |
|  |  |  | 56896.7290 | 10 | 1 | 1 | 0.0 | 1 | 10 | 56896.7290 | 10 | 0 |
|  |  |  | 56896.7290 | 810 | 0 | 0.04 | -1.4 | 1 | 810 | 56896.7290 | 30 | 0 |
|  |  |  | 56896.7290 | 10 | 1 | 1 | 0.0 | 1 | 10 | 56896.7290 | 10 | 0 |
|  |  |  | 56896.7440 | 1406 | 0.29 | 0.73 | -24.5 | 0 | 1280 | 56896.7440 | 610 | 0.004571 |
|  |  |  | 56896.7440 | 293 | 0.42 | 0.40 | 81.9 | 0 | 100 | 56896.7440 | 290 | 0.002523 |
|  |  |  | 56896.7440 | 68 | 0.27 | 0.35 | 59.0 | 1 | 40 | 56896.7440 | 60 | 0.000001 |
|  |  |  | 56896.7440 | 624 | 0.57 | 0.74 | -60.9 | 0 | 470 | 56896.7440 | 560 | 0.002051 |
| f | 15:48:18 |  | 56898.4320 | 1835 | 0.46 | 0.69 | -50.1 | 0 | 1280 | 56898.4320 | 1530 | 0.00001 |
|  |  |  | 56898.4320 | 485 | 0.20 | 0.56 | 8.5 | 1 | 480 | 56898.4320 | 240 | 0.009411 |
|  |  |  | 56898.4320 | 10 | 1 | 1 | 0.0 | 1 | 10 | 56898.4320 | 10 | 0 |
|  |  |  | 56898.4320 | 556 | 0.66 | 0.8 | 14.9 | 0 | 460 | 56898.4320 | 450 | 0.006411 |
|  |  |  | 56898.4320 | 740 | 0.23 | 0.49 | -36.1 | 0 | 600 | 56898.4320 | 450 | 0.004948 |
|  |  |  | 56898.4320 | 10 | 1 | 1 | 0.0 | 1 | 10 | 56898.4320 | 10 | 0.000168 |
|  |  |  | 56898.4790 | 936 | 0.24 | 0.77 | 27.7 | 0 | 830 | 56898.4790 | 550 | 0.000023 |
|  |  |  | 56898.4790 | 230 | 0.01 | 0.10 | -2.6 | 1 | 230 | 56898.4790 | 30 | 0 |
|  |  |  | 56898.4790 | 1440 | 0.46 | 0.70 | -73.3 | 0 | 900 | 56898.4790 | 1380 | 0.003641 |
| g | 15:48:19 |  | 56899.0410 | 1318 | 0.33 | 0.72 | -62.5 | 0 | 840 | 56899.0410 | 1170 | 0.004532 |
|  |  |  | 56899.0410 | 20 | 0.64 | 0.50 | 90.0 | 1 | 10 | 56899.0410 | 20 | 0.000001 |
|  |  |  | 56899.0410 | 810 | 0.42 | 0.70 | -44.7 | 0 | 690 | 56899.0410 | 690 | 0.002922 |
|  |  |  | 56899.0410 | 426 | 0.49 | 0.75 | -27.2 | 0 | 380 | 56899.0410 | 220 | 0.005264 |
|  |  |  | 56899.0880 | 1133 | 0.09 | 0.38 | -9.7 | 0 | 1120 | 56899.0880 | 390 | 0.003884 |
|  |  |  | 56899.0880 | 895 | 0.43 | 0.72 | -42.7 | 0 | 690 | 56899.0880 | 650 | 0.009477 |
|  |  |  | 56899.0880 | 1767 | 0.41 | 0.75 | -63.5 | 0 | 1210 | 56899.0880 | 1520 | 0.019782 |
|  |  |  | 56899.0880 | 1294 | 0.49 | 0.68 | -73.3 | 0 | 750 | 56899.0880 | 1240 | 0.001524 |
| h | 15:48:19 |  | 56899.9470 | 200 | 0.48 | 0.25 | 90.0 | 0 | 50 | 56899.9470 | 200 | 0.000002 |
|  |  |  | 56899.9470 | 10 | 1 | 1 | 0.0 | 1 | 10 | 56899.9470 | 10 | 0.000001 |
|  |  |  | 56899.9470 | 1491 | 0.38 | 0.62 | -62.2 | 0 | 850 | 56899.9470 | 1320 | 0.000156 |
|  |  |  | 56899.9470 | 20 | 0.64 | 0.50 | 90.0 | 1 | 10 | 56899.9470 | 20 | 0.001164 |
|  |  |  | 56899.9790 | 1455 | 0.31 | 0.75 | 28.5 | 0 | 1280 | 56899.9790 | 720 | 0.000018 |
|  |  |  | 56899.9790 | 90 | 0.03 | 0.11 | 0.0 | 1 | 90 | 56899.9790 | 10 | 0 |
|  |  |  | 56899.9790 | 201 | 0.01 | 0.10 | 6.0 | 1 | 200 | 56899.9790 | 30 | 0 |
|  |  |  | 56899.9790 | 10 | 1 | 1 | 0.0 | 1 | 10 | 56899.9790 | 10 | 0 |
| i | 15:48:20 |  | 56900.6970 | 1141 | 0.54 | 0.82 | -88.7 | 0 | 930 | 56900.6970 | 1040 | 0.003159 |
|  |  |  | 56900.6970 | 593 | 0.41 | 0.77 | -50.6 | 0 | 410 | 56900.6970 | 480 | 0.000003 |
|  |  |  | 56900.6970 | 92 | 0.70 | 0.58 | -76.0 | 0 | 40 | 56900.6970 | 90 | 0.000002 |
|  |  |  | 56900.6970 | 70 | 0.57 | 0.29 | 90.0 | 0 | 20 | 56900.6970 | 70 | 0.000001 |
|  |  |  | 56900.6970 | 10 | 1 | 1 | 0.0 | 1 | 10 | 56900.6970 | 10 | 0 |
|  |  |  | 56900.6970 | 219 | 0.22 | 0.33 | 73.3 | 0 | 80 | 56900.6970 | 210 | 0.001801 |
|  |  |  | 56900.6970 | 61 | 0.51 | 0.39 | -78.7 | 0 | 20 | 56900.6970 | 60 | 0.000001 |
|  |  |  | 56900.6970 | 170 | 0.17 | 0.29 | 0.0 | 1 | 170 | 56900.6970 | 50 | 0.000623 |
|  |  |  | 56900.6970 | 10 | 1 | 1 | 0.0 | 1 | 10 | 56900.6970 | 10 | 0 |
|  |  |  | 56900.6970 | 240 | 0.39 | 0.27 | 87.5 | 0 | 60 | 56900.6970 | 240 | 0.002541 |
|  |  |  | 56900.7290 | 1639 | 0.23 | 0.73 | -38.8 | 0 | 1280 | 56900.7290 | 1100 | 0.000928 |
|  |  |  | 56900.7290 | 181 | 0.16 | 0.40 | -69.4 | 1 | 80 | 56900.7290 | 170 | 0.005551 |
|  |  |  | 56900.7290 | 40 | 0.49 | 0.50 | 90.0 | 0 | 20 | 56900.7290 | 40 | 0 |
|  |  |  | 56900.7290 | 816 | 0.47 | 0.78 | -8.8 | 1 | 810 | 56900.7290 | 690 | 0.004808 |
| j | 15:48:22 |  | 56902.0410 | 946 | 0.38 | 0.64 | -53.3 | 0 | 620 | 56902.0410 | 780 | 0.000005 |
|  |  |  | 56902.0410 | 331 | 0.01 | 0.10 | -3.6 | 1 | 330 | 56902.0410 | 40 | 0.000001 |
|  |  |  | 56902.0410 | 88 | 0.45 | 0.83 | 50.2 | 0 | 70 | 56902.0410 | 70 | 0.008415 |
|  |  |  | 56902.0410 | 149 | 0.19 | 0.44 | 30.3 | 0 | 130 | 56902.0410 | 90 | 0.000001 |
|  |  |  | 56902.0410 | 10 | 1 | 1 | 0.0 | 1 | 10 | 56902.0410 | 10 | 0 |
|  |  |  | 56902.0410 | 935 | 0.38 | 0.74 | -24 | 0 | 840 | 56902.0410 | 610 | 0.008359 |
|  |  |  | 56902.0410 | 163 | 0.02 | 0.13 | -11.3 | 0 | 160 | 56902.0410 | 40 | 0.003193 |
|  |  |  | 56902.0880 | 1627 | 0.38 | 0.57 | 71.4 | 0 | 870 | 56902.0880 | 1520 | 0.000026 |
|  |  |  | 56902.0880 | 10 | 1 | 1 | 0.0 | 1 | 10 | 56902.0880 | 10 | 0 |
|  |  |  | 56902.0880 | 10 | 1 | 1 | 0.0 | 1 | 10 | 56902.0880 | 10 | 0.00921 |
|  |  |  | 56902.0880 | 32 | 0.36 | 0.45 | -26.6 | 1 | 30 | 56902.0880 | 20 | 0 |
| k | 17:09:31 |  | 61771.9260 | 1209 | 0.16 | 0.20 | 18.0 | 0 | 1150 | 61771.9260 | 410 | 0.003296 |
|  |  |  | 61771.9260 | 681 | 0.24 | 0.24 | 20.1 | 1 | 640 | 61771.9260 | 320 | 0.000243 |
|  |  |  | 61771.9260 | 540 | 0.75 | 0.87 | -60.2 | 0 | 370 | 61771.9260 | 480 | 0.008648 |
|  |  |  | 61771.9260 | 250 | 0.61 | 0.42 | 87.6 | 0 | 100 | 61771.9260 | 250 | 0.004439 |
|  |  |  | 61771.9260 | 2299 | 0.45 | 0.41 | 86.2 | 0 | 820 | 61771.9260 | 2290 | 0.00002 |
|  |  |  | 61771.9260 | 10 | 1 | 1 | 0.0 | 1 | 10 | 61771.9260 | 10 | 0 |
|  |  |  | 61771.9730 | 1210 | 0.10 | 0.17 | 0.0 | 1 | 1210 | 61771.9730 | 210 | 0.00433 |
|  |  |  | 61771.9730 | 2371 | 0.59 | 0.54 | 85.2 | 0 | 1230 | 61771.9730 | 2340 | 0.011191 |
|  |  |  | 61771.9730 | 10 | 1 | 1 | 0.0 | 1 | 10 | 61771.9730 | 10 | 0 |
|  |  |  | 61771.9730 | 118 | 0.42 | 0.78 | 68.2 | 1 | 70 | 61771.9730 | 110 | 0.00013 |
|  |  |  | 61771.9730 | 195 | 0.73 | 0.62 | -80.7 | 0 | 100 | 61771.9730 | 190 | 0.003807 |
|  |  |  | 61771.9730 | 625 | 0.39 | 0.49 | 22.0 | 1 | 600 | 61771.9730 | 330 | 0.002619 |
|  |  |  | 61771.9730 | 923 | 0.36 | 0.43 | 61.2 | 0 | 520 | 61771.9730 | 840 | 0.011168 |
|  |  |  | 61771.9730 | 570 | 0.45 | 0.63 | 11.3 | 0 | 540 | 61771.9730 | 370 | 0.000003 |
| l | 17:09:35 | l-1 | 61775.2230 | 276 | 0.38 | 0.64 | 19.8 | 1 | 260 | 61775.2230 | 200 | 0.000112 |
|  |  | l-2 | 61775.2230 | 185 | 0.53 | 0.58 | 18.4 | 1 | 180 | 61775.2230 | 130 | 0.000512 |
|  |  | l-3 | 61775.2230 | 532 | 0.46 | 0.59 | -32.5 | 0 | 470 | 61775.2230 | 380 | 0.004521 |
|  |  | l-4 | 61775.2230 | 1261 | 0.41 | 0.38 | -87.3 | 0 | 430 | 61775.2230 | 1260 | 0.000841 |
|  |  | l-5 | 61775.2700 | 1260 | 0.36 | 0.41 | 87.7 | 0 | 510 | 61775.2700 | 1210 | 0.000026 |
|  |  | l-6 | 61775.2700 | 871 | 0.48 | 0.70 | 38.9 | 1 | 740 | 61775.2700 | 730 | 0.000412 |
|  |  |  | 61775.2700 | 1110 | 0.22 | 0.20 | 89.5 | 0 | 220 | 61775.2700 | 1110 | 0.006587 |
| m | 17:09:36 |  | 61776.7230 | 834 | 0.23 | 0.30 | 47.0 | 1 | 670 | 61776.7230 | 640 | 0.00192 |
|  |  |  | 61776.7230 | 615 | 0.33 | 0.44 | 30.8 | 0 | 530 | 61776.7230 | 350 | 0.005818 |
|  |  |  | 61776.7230 | 730 | 0.65 | 0.60 | 79.3 | 0 | 410 | 61776.7230 | 720 | 0.007018 |
|  |  |  | 61776.7230 | 171 | 0.46 | 0.41 | 90.0 | 0 | 70 | 61776.7230 | 170 | 0.003529 |
|  |  |  | 61776.7230 | 170 | 0.35 | 0.33 | 86.4 | 0 | 50 | 61776.7230 | 170 | 0.001633 |
|  |  |  | 61776.7700 | 1995 | 0.5 | 0.76 | -64.6 | 0 | 1280 | 61776.7700 | 1670 | 0.001801 |
|  |  |  | 61776.7700 | 2344 | 0.7 | 0.59 | 80.4 | 0 | 1280 | 61776.7700 | 2320 | 0.003571 |
|  |  |  | 61776.7700 | 390 | 0.41 | 0.31 | 90.0 | 0 | 120 | 61776.7700 | 390 | 0.012025 |
|  |  |  | 61776.7700 | 401 | 0.66 | 0.49 | -87.1 | 0 | 190 | 61776.7700 | 400 | 0.000003 |
| n | 17:09:37 |  | 61777.8790 | 242 | 0.41 | 0.73 | -82.6 | 1 | 180 | 61777.8790 | 240 | 0.00711 |
|  |  |  | 61777.8790 | 2140 | 0.23 | 0.31 | 84.3 | 0 | 640 | 61777.8790 | 2130 | 0.000314 |
|  |  |  | 61777.8790 | 10 | 1 | 1 | 0.0 | 1 | 10 | 61777.8790 | 10 | 0 |
|  |  |  | 61777.8790 | 1872 | 0.47 | 0.51 | -83.8 | 0 | 900 | 61777.8790 | 1860 | 0.000014 |
|  |  |  | 61777.8790 | 760 | 0.49 | 0.35 | -89.2 | 0 | 260 | 61777.8790 | 760 | 0.003417 |
|  |  |  | 61777.8790 | 587 | 0.39 | 0.54 | 25.7 | 0 | 550 | 61777.8790 | 280 | 0.006646 |
|  |  |  | 61777.9260 | 1671 | 0.5 | 0.52 | -78.0 | 0 | 790 | 61777.9260 | 1610 | 0.000435 |
|  |  |  | 61777.9260 | 52 | 0.56 | 0.87 | 45.0 | 1 | 40 | 61777.9260 | 40 | 0.007569 |
|  |  |  | 61777.9260 | 42 | 0.44 | 0.85 | 71.6 | 1 | 30 | 61777.9260 | 40 | 0.000001 |
|  |  |  | 61777.9260 | 1096 | 0.67 | 0.66 | -82.2 | 0 | 640 | 61777.9260 | 1080 | 0.017617 |
| o | 17:09:40 |  | 61780.6290 | 92 | 0.70 | 0.58 | -76.0 | 0 | 40 | 61780.6290 | 90 | 0.01069 |
|  |  |  | 61780.6290 | 593 | 0.55 | 0.69 | 50.6 | 0 | 440 | 61780.6290 | 480 | 0.000006 |
|  |  |  | 61780.6290 | 772 | 0.45 | 0.70 | -29.9 | 0 | 670 | 61780.6290 | 540 | 0.001699 |
|  |  |  | 61780.6290 | 190 | 0.53 | 0.34 | -86.8 | 0 | 60 | 61780.6290 | 190 | 0.001913 |
|  |  |  | 61780.6290 | 377 | 0.44 | 0.52 | 11.0 | 1 | 370 | 61780.6290 | 220 | 0.000538 |
|  |  |  | 61780.6760 | 1999 | 0.51 | 0.69 | -54.0 | 0 | 1280 | 61780.6760 | 1580 | 0.00442 |
|  |  |  | 61780.6760 | 196 | 0.54 | 0.84 | 36.3 | 0 | 170 | 61780.6760 | 120 | 0.000707 |
|  |  |  | 61780.6760 | 973 | 0.17 | 0.20 | 12.6 | 1 | 950 | 61780.6760 | 300 | 0.008582 |
| p | 17:09:43 |  | 61783.0670 | 120 | 0.25 | 0.19 | -84.8 | 0 | 20 | 61783.0670 | 120 | 0.007747 |
|  |  |  | 61783.0670 | 996 | 0.53 | 0.90 | 31.6 | 0 | 890 | 61783.0670 | 850 | 0.001416 |
|  |  |  | 61783.0670 | 393 | 0.74 | 0.54 | 81.9 | 0 | 190 | 61783.0670 | 390 | 0.00214 |
|  |  |  | 61783.0670 | 564 | 0.36 | 0.30 | 82.7 | 0 | 140 | 61783.0670 | 560 | 0.003405 |
|  |  |  | 61783.0820 | 1536 | 0.17 | 0.93 | 35.4 | 0 | 1280 | 61783.0820 | 1090 | 0.004885 |
|  |  |  | 61783.0820 | 20 | 0.64 | 0.50 | 90.0 | 1 | 10 | 61783.0820 | 20 | 0.000001 |
|  |  |  | 61783.0820 | 775 | 0.01 | 0.27 | 11.3 | 1 | 760 | 61783.0820 | 190 | 0.000001 |
| q | 17:09:55 |  | 61795.8170 | 503 | 0.66 | 0.73 | -73.6 | 0 | 320 | 61795.8170 | 480 | 0.000272 |
|  |  |  | 61795.8170 | 318 | 0.53 | 0.49 | 76.9 | 0 | 120 | 61795.8170 | 310 | 0.000057 |
|  |  |  | 61795.8170 | 30 | 0.57 | 0.67 | 90.0 | 1 | 20 | 61795.8170 | 30 | 0.000175 |
|  |  |  | 61795.8170 | 20 | 0.64 | 0.50 | 90.0 | 1 | 10 | 61795.8170 | 20 | 0.003987 |
|  |  |  | 61795.8170 | 10 | 1 | 1 | 0.0 | 1 | 10 | 61795.8170 | 10 | 0.001401 |
|  |  |  | 61795.8170 | 24 | 0.87 | 0.83 | -45.0 | 1 | 20 | 61795.8170 | 20 | 0.000029 |
|  |  |  | 61795.8170 | 260 | 0.44 | 0.29 | 87.7 | 0 | 70 | 61795.8170 | 260 | 0.001169 |
|  |  |  | 61795.8320 | 922 | 0.34 | 0.56 | 44.6 | 0 | 680 | 61795.8320 | 650 | 0.000651 |
|  |  |  | 61795.8320 | 38 | 0.69 | 0.82 | 45.0 | 1 | 30 | 61795.8320 | 30 | 0.000222 |
|  |  |  | 61795.8320 | 32 | 0.61 | 0.72 | -63.4 | 1 | 20 | 61795.8320 | 30 | 0.000989 |
| r | 17:10:07 |  | 61807.0670 | 168 | 0.84 | 0.77 | 71.6 | 0 | 110 | 61807.0670 | 160 | 0.000013 |
|  |  |  | 61807.0670 | 20 | 0.64 | 0.50 | 90.0 | 1 | 10 | 61807.0670 | 20 | 0.001662 |
|  |  |  | 61807.0670 | 42 | 0.44 | 0.54 | 71.6 | 1 | 20 | 61807.0670 | 40 | 0.003734 |
|  |  |  | 61807.0670 | 593 | 0.74 | 0.94 | 50.6 | 0 | 430 | 61807.0670 | 520 | 0.000802 |
|  |  |  | 61807.0670 | 441 | 0.69 | 0.59 | -86.0 | 0 | 240 | 61807.0670 | 440 | 0.000019 |
|  |  |  | 61807.0670 | 467 | 0.61 | 0.88 | -27.4 | 0 | 420 | 61807.0670 | 320 | 0.000183 |
|  |  |  | 61807.0670 | 932 | 0.51 | 0.59 | 53.4 | 0 | 640 | 61807.0670 | 820 | 0.000686 |
|  |  |  | 61807.0820 | 2642 | 0.60 | 0.51 | -86.9 | 0 | 1280 | 61807.0820 | 2570 | 0.002889 |
|  |  |  | 61807.0820 | 24 | 0.87 | 0.83 | -45.0 | 1 | 20 | 61807.0820 | 20 | 0 |
|  |  |  | 61807.0820 | 55 | 0.47 | 0.84 | -63.4 | 1 | 40 | 61807.0820 | 50 | 0.001953 |
|  |  |  | 61807.0820 | 646 | 0.66 | 0.53 | -85.4 | 0 | 320 | 61807.0820 | 640 | 0.000917 |
| s | 17:10:08 |  | 61808.2230 | 1210 | 0.30 | 0.50 | -69.0 | 0 | 630 | 61808.2230 | 1130 | 0.00022 |
|  |  |  | 61808.2230 | 77 | 0.56 | 0.65 | 26.6 | 1 | 70 | 61808.2230 | 60 | 0.001332 |
|  |  |  | 61808.2230 | 102 | 0.52 | 0.65 | -77.5 | 1 | 70 | 61808.2230 | 100 | 0.000715 |
|  |  |  | 61808.2230 | 96 | 0.52 | 0.76 | 76.6 | 1 | 70 | 61808.2230 | 90 | 0.002059 |
|  |  |  | 61808.2230 | 220 | 0.73 | 0.85 | 25.3 | 1 | 200 | 61808.2230 | 180 | 0.000147 |
|  |  |  | 61808.2700 | 914 | 0.24 | 0.41 | 5.1 | 0 | 910 | 61808.2700 | 350 | 0.000231 |
|  |  |  | 61808.2700 | 46 | 0.48 | 0.64 | 33.7 | 1 | 40 | 61808.2700 | 30 | 0.001332 |
|  |  |  | 61808.2700 | 46 | 0.42 | 0.52 | 33.7 | 1 | 40 | 61808.2700 | 30 | 0.000001 |
|  |  |  | 61808.2700 | 150 | 0.43 | 0.44 | 85.9 | 0 | 60 | 61808.2700 | 150 | 0.000012 |
| t | 17:10:11 |  | 61811.5670 | 161 | 0.68 | 0.58 | -82.4 | 0 | 80 | 61811.5670 | 160 | 0.000681 |
|  |  |  | 61811.5670 | 869 | 0.30 | 0.42 | -9.7 | 1 | 860 | 61811.5670 | 440 | 0.000257 |
|  |  |  | 61811.5670 | 579 | 0.43 | 0.57 | 39.3 | 0 | 470 | 61811.5670 | 400 | 0.000325 |
|  |  |  | 61811.5670 | 95 | 0.57 | 0.82 | 69.4 | 1 | 60 | 61811.5670 | 90 | 0.002299 |
|  |  | t-1 | 61811.5670 | 1093 | 0.28 | 0.56 | 9.4 | 1 | 1080 | 61811.5670 | 580 | 0.000997 |
|  |  | t-2 | 61811.5670 | 1151 | 0.21 | 0.27 | 25.4 | 0 | 1040 | 61811.5670 | 540 | 0.003118 |
|  |  | t-3 | 61811.5820 | 1945 | 0.57 | 0.77 | 58.5 | 0 | 1150 | 61811.5820 | 1660 | 0.000428 |
|  |  | t-4 | 61811.5820 | 2030 | 0.48 | 0.59 | 52.8 | 0 | 1280 | 61811.5820 | 1680 | 0.00116 |
|  |  |  | 61811.5820 | 2703 | 0.36 | 0.48 | 62.1 | 0 | 1280 | 61811.5820 | 2440 | 0.000949 |
|  |  |  | 61811.5820 | 24 | 0.66 | 0.62 | -45.0 | 1 | 20 | 61811.5820 | 20 | 0.000619 |